Sanitation General Requirements Lesson

- Policy

  - Workplaces, storerooms, personal service rooms, and corridors are maintained clean, tidy, and hygienic as the nature of the job permits.

  - Every floor, workroom, personal service room, and hallway are free of projecting nails, splinters, loose boards, and needless holes and openings to simplify cleaning.

  - Putrescible trash or rubbish is collected and kept in a container that does not leak and can be cleaned quickly and completely.

  - Sweepings, putrescible wastes, rubbish, and garbage are removed in such a way as to avoid causing a nuisance, and they are removed as frequently as required to prevent the development of unhygienic conditions, which pose a health risk.

  - To the extent possible, the enclosed workspace and personal service room are fitted and maintained to prevent the entry or harborage of insects, rats, or other vermin. A comprehensive eradication and control program is implemented whenever their existence is discovered.

  - When exterior water intrusion, leakage from internal water sources, or other uncontrolled water buildup occurs, the intrusion, leakage, or accumulation must be addressed since these situations may lead to mold development.

- Procedure

  - Housekeeping

    - Keep all areas clean to the extent permitted by the nature of the work.

    - Keep every workroom as dry as possible.

    - Provide fake flooring, platforms, mats, or other dry standing areas or appropriate footgear where wet processes are utilized and maintain drainage.

    - To make cleaning easier, keep every floor, working area, and corridor free of projecting nails, splinters, loose boards, and unnecessary holes and openings.

  - Waste Disposal

    - Ensure that any receptacle used for putrescible solid or liquid waste or trash is made in such a way that it does not leak and can be fully cleaned and kept sanitary. Unless a sanitary condition can be maintained without a cover, such a receptacle is supplied with a strong, tight-fitting cover. This criterion does not exclude the use of receptacles designed to allow for sanitary disposal without considering the standards above.

    - Remove sweepings, solid or liquid wastes, rubbish, and garbage in a manner that does not create a health hazard and as frequently as necessary or suitable to maintain the workplace sanitary.

  - Vermin Control

    - Create, furnish, and maintain enclosed workspaces in such a way that rats, insects, and other vermin are unable to enter or breed there.

    - Where their existence is detected, implement a long-term and effective elimination effort.

  - Potable Drinking Water

    - Potable water is provided and arranged in easily accessible locations for all personnel.

    - Design, build, and maintain portable drinking water dispensers that are sanitary, can be closed, and have a tap.

    - Take into account the atmospheric temperature, humidity, and the nature of the work performed to ensure that the water is sufficiently chilled and in sufficient quantities to meet the demands of all employees.

    - Ensure that the water is sufficiently chilled and in adequate quantities to meet the demands of all employees, taking into account the atmospheric temperature, humidity, and the nature of the work performed.

    - Open containers such as barrels, pails, or tanks for drinking water from which water is dipped or poured are prohibited, regardless of whether they have a cover.

    - Serve water in single-use drinking glasses or through fountains.

    - It is not permitted to use normal drinking glasses or dippers.

  - Non-potable Water

    - Indicate clearly on or near non-potable water outlets, such as those used for industrial or firefighting purposes, that the water is unsafe and should not be used for drinking.

    - Construct non-potable water systems and systems for the conveyance of any other non-potable substance in such a way that backflow or back-siphonage into a potable water system is avoided.

    - Clean areas other than areas where products are made and areas where people get service with non-potable water. However, this non-potable water does not contain any chemicals, fecal coliform, or other contaminants that could cause sanitary problems or injure employees.

  - Toilet and Handwashing Facilities

    - One toilet and one handwashing station for every twenty (20) employees, or a fraction thereof.

    - Separate toilet rooms for men and women in all places of employment, as specified in table 1 below.

      - The number of facilities to be provided for each sex is based on the number of employees of that sex for whom the facilities are furnished.

      - Where toilet rooms will be occupied by no more than one person at a time, can be locked from the inside, and contain at least one water closet, separate toilet rooms for each sex need not be provided.

      - Where such single-occupancy rooms have more than one toilet facility, only one such facility in each toilet room shall be counted for the purpose of table 1.

| Number of employees | Minimum number of water closets1 |
| --- | --- |
| 1 to 15 | 1 |
| 16 to 35 | 2 |
| 36 to 55 | 3 |
| 56 to 80 | 4 |
| 81 to 110 | 5 |
| 111 to 150 | 6 |
| Over 150 | (2) |

Table 1

1Where toilet facilities will not be used by women, urinals may be provided instead of water closets, except that the number of water closets in such cases shall not be reduced to less than 2/3 of the minimum specified.

21 additional fixtures for each additional 40 employees.

    - Toilet facilities are adequately ventilated, screened, and equipped with self-closing doors that are closed and secured from the inside and are constructed to ensure privacy.

    - Toilet and handwashing facilities are easily accessible and adjacent to one another, and they are located within a quarter-mile of each hand laborer's field location.

    - Due to terrain, it is not feasible to locate facilities as required above. The facility is located at the point of closest vehicular access.

    - Employees who perform fieldwork for three (3) hours or less during the day (including transit time to and from the field) are not obliged to use restrooms or handwashing facilities.

  - Lavatories

    - Available in all places of employment. Suppose employees operating at these locations have access to adjacent washing facilities that meet the other requirements of this paragraph. In that case, the provisions of this section do not apply to mobile crews or generally unattended work locations.

    - Provided with hot and cold running water or tepid running water.

    - Supplied with hand soap or similar cleansing agents.

    - Supplied with individual hand towels or sections of cloth or paper hand towels, air blowers, or clean individual sections of continuous cloth toweling, convenient to the lavatories.

  - Change Rooms

    - Change rooms with storage facilities for street clothes and separate storage facilities for protective clothing are provided whenever personnel is required to change from street clothes to protective gear.

    - When the employer provides work clothes that become wet or are laundered between shifts, arrangements are made to guarantee that the clothing is dry before reuse.

  - Waste Disposal Containers

    - For the disposal of waste food, receptacles made of smooth, corrosion-resistant, easily cleanable, or disposable materials are provided and used.

    - The number, size, and location of such receptacles shall encourage their use and not overfilling.

    - It is emptied not less frequently than once each working day, unless unused, and shall be maintained in a clean and sanitary condition.

    - Receptacles are provided with a solid tight-fitting cover unless sanitary conditions can be maintained without a cover.

- Responsibility

  - Top Management

    - Provide the following for employees engaged in hand-labor operations in the field, without cost to the employee:

      - Housekeeping

      - Waste Disposal

      - Vermin Control

      - Potable Drinking Water

      - Toilet and Handwashing Facilities

      - Lavatories

      - Change Rooms

      - Waste Disposal Containers

    - Each employee is informed of the sanitation facilities and water location and given a reasonable opportunity to use them during the workday.

    - Inform each employee of the importance of each of the following good hygiene practices to minimize exposure to the hazards in the field of heat, communicable diseases, retention of urine, and agrichemical residues.

- Corrective Action

  - Ensure that all of the policy's provisions are followed and enforced by conducting and monitoring the various areas covered by the policy.

- Review

  - Review of the safety and health program, goals, and objectives, as well as the application of this policy.

  - Review the Occupational Safety and Health Administration about Sanitation.

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | Enter Revision Date Here | Enter Description of Change Here | ENTER AUTHOR NAME | ENTER TITLE / ENTER DEPARTMENT |

Requirements:

- The trainee has read or received a verbal translation of all or part of the policy, procedure, method, and or SOP for which they are being trained.

- The trainee has demonstrated the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and with minimal supervision as required.

*Should you need assistance in customizing this document please email services@consultareinc.com