Water Supply Lesson

- Policy

  - Potable water, or drinking water, is safe enough to be consumed by personnel or used with a low risk of harm.

  - The availability of sufficient supplies of water both as a processing ingredient and for cleaning purposes is ensured.

- Procedures

  - Source of Water Supply

    - Potable water supply at the correct temperature and pressure prescribed by applicable legislation has sufficient capacity for all scheduled production needs and meets cleaning and sanitation requirements.

    - The water supply is adequate for the operations intended and derived from an adequate source. Any water that contacts food, food-contact surfaces, or food-packaging materials is safe and of adequate sanitary quality. Running water at a suitable temperature, and under pressure, as needed, is provided in all areas where required for the processing of food, for the cleaning of equipment, utensils, and food-packaging materials, or employee sanitary facilities.

    - In most developed countries, sufficient quantities of potable water are delivered to storage and distribution facilities for operational purposes. In some countries, however, and some regions in developed countries, the potability of municipal water cannot be relied on.

  - Emergency Plan/s

    - A business agreement with a bottled water supplier or a certified drinking water hauler assuring that has a backup source of water in case the water supply is cut off or contaminated, so they are covered in the event of an emergency.

    - A list of equipment that uses water in the establishment and its contingency plan.

  - Filtration

    - Water will pass through filters of varying compositions (sand, gravel, and charcoal) and pore sizes, to remove dissolved particles, such as dust, parasites, bacteria, viruses, and chemicals.

  - Disinfection

    - After filtration, a disinfectant (i.e., chlorine, chloramine) is added to kill any remaining parasites, bacteria, and viruses.

  - Water Supply Testing

    - Collection, monitoring, and testing of the water source and water used in the Production. Refer to Monitoring Water Microbiology and Quality

    - Internal monitoring and testing of the water quality and microbiology. Refer to Water Supply Monitoring Team Roster

    - Test and sample methods are recognized and approved by the government agency or agencies having jurisdiction over the approval of the water source.

    - Analysis of the sample may be performed for the plant by competent commercial laboratories (e.g., Environmental Protection Agency (EPA) and State-certified laboratories)

- Responsibilities

  - Quality Personnel

    - Perform internal monitoring and testing of the water source and water used in the Production;

    - Ensure adequate potable water for cleaning requirements;

    - Ensure the availability and effectiveness of the contingency plan for possible potable water contamination.

  - Senior Management

    - The secure potable water source used in manufacturing;

    - Ensure available potable water is adequate for operational needs;

    - Ensure (inspect) and verify this policy and procedure is adhered to and;

    - Take corrective action to ensure compliance with this policy.

- Corrective Action

  - In the event, the main water source is deemed contaminated, temporarily change to alternative water source/s.

  - Use of backup disinfection plants or spot dosing may be used to correct disinfection system failure within the water supply.

- Review – Quality

  - Water used in manufacturing is from a potable source;

  - Potable water availability is adequate for operational needs;

  - Potable water availability is adequate to meet cleaning requirements;

  - Hot water is available for cleaning purposes;

  - An emergency or contingency plan is in place and effective for suspected potable water contamination.

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | YYYYMMDD | Original | ENTER AUTHOR NAME | ENTER TITLE / ENTER DEPARTMENT |

Requirements:

- The trainee (employee/visitor) has read or received a verbal translation of all or part of the policy, procedure, method, and/or SOP for which they are being trained.

- The trainee has observed a demonstration of the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and minimal supervision.

| TRAINEE (Print Name): | TRAINEE (Signature): | Date: | Department: |
| --- | --- | --- | --- |
| Trainer / Supervisor (Print Name): | Trainer (Signature): | Date: | Department: |

*Should you need assistance in customizing this document please email services@consultareinc.com