Walking-Working Surfaces General Requirements Training Material and Comprehension Quiz

- Policy

  - Romero’s Food Products Inc. ensures that the general requirements of walking-working surfaces meet regulatory compliance.

  - Monitors and documents the inspection, maintenance, and repair of the general requirements of walking-working surfaces.

- Procedure

  - Surface Conditions

    - All places of employment, passageways, storerooms, service rooms, and walking-working surfaces are kept clean, orderly, and sanitary by Sanitary Personnel.

    - Maintain a clean and dry condition on each workroom’s floor.

    - Drainage is maintained when wet processes are used.

    - Dry standing places, such as false floors, platforms, and mats, are provided:

    - Walking-working surfaces are free of sharp or protruding objects, loose boards, corrosion, leaks, spills, snow, and ice.

  - Loads

    - Each walking-working surface can support the maximum intended load for that surface.

  - Access and Egress

    - Each employee uses a safe means of access and egress to and from walking-working surfaces as provided.

  - Inspection, Maintenance, and Repair Regulations

    - The general requirements are the following:

      - Walking-working surfaces are inspected regularly and maintained safely by OSHA practitioners.

      - Ensure that the inspected hazardous conditions on walking-working surfaces are corrected or repaired before an employee uses the walking-working surface again.

      - If correction or any repairs cannot be made immediately, keep the hazard conditions guarded to prevent the employees from using the walking-working surface until the hazard is corrected or repaired.

      - When any correction or repair involves the structural integrity of the walking-working surface, a qualified person performs or supervises the correction or repair.

- Responsibility

  - Management

    - Creates the general requirements that meet the standards.

    - Make sure that the employees comply with the general requirements.

    - Checks the documentation records of all employees of training on the general requirements.

  - Quality Department

    - Inspect the effectiveness of the general requirements for verification of compliance with standards.

  - Employee

    - Follows the requirements of the Walking-working surfaces general requirements program.

    - Reports any non-conformances on the implementation of the program.

- Corrective Action

  - The unrepaired walking-working surface is on limited access; suppose the correction or repair cannot be made immediately.

- Review - Quality

  - Review the general requirements for the development of rules and regulations.

  - Confirm that the general requirements comply with the standards.

  - Review the documentation of the process with the relevant departments.

  - A review of these general requirements is conducted periodically.

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | 20241002 | Original | Arnel Ryan | PCQI / Compliance |

Requirements:

- The trainee has read or received a verbal translation of all or part of the policy, procedure, method, and/or SOP for which they are being trained.

- The trainee has demonstrated the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and minimal supervision.

| TRAINEE (Print Name): | TRAINEE (Signature): | Date: | Department: |
| --- | --- | --- | --- |
| Trainer / Supervisor (Print Name): | Trainer (Signature): | Date: | Department: |

UPON COMPLETION – EMAIL TO rfp@consultareinc.com

| NAME (Print): | Date: |
| --- | --- |

# Walking-Working Surfaces General Requirements Comprehension Quiz

Direction: Choose the best answer and encircle the letter.

- What is the primary responsibility of Romero's Food Products Inc. regarding walking-working surfaces?

  - Cleaning the surfaces

  - Ensuring compliance with general requirements

  - Installing walking-working surfaces

- According to the procedure, who is responsible for keeping walking-working surfaces clean, orderly, and sanitary?

  - Quality Department

  - Management

  - Sanitary Personnel

- What should be done if a walking-working surface cannot be immediately repaired?

  - The surface must be cleaned

  - It must be guarded to prevent use until repaired

  - Employees can use it with caution

- Who is responsible for performing or supervising structural integrity repairs on walking-working surfaces?

  - Management

  - A qualified person

  - Any employee

- What is the role of the Quality Department concerning walking-working surfaces?

  - Monitor the cleanliness of surfaces

  - Inspect and verify compliance with general requirements

  - Train employees on safety procedures

## UPON COMPLETION – EMAIL TO rfp@consultareinc.com