Ventilation Lesson

- Policy

  - Adequate and proper ventilation is provided to prevent condensate build-up in cooking areas or other areas where heat or steam are applied, which can result in contamination due to condensate dripping onto the product or food-contact surfaces.

  - Fans and exhaust vents are placed in locations where they do not pose a contamination risk.

  - Positive air pressure is maintained in high-risk processing areas to prevent airborne contaminants from being drawn into the area.

- Procedure

  - Ventilation

    - Provide adequate ventilation to cooker/washer steam and other equipment which produces heat.

    - Design and construct the ventilation in enclosed food processing areas based on applicable legislation.

    - Design and construct ventilation in enclosed food processing areas such that condensation over food and surfaces of food contact equipment is prevented.

  - Positive Air Pressure

    - Identify high-risk processing area.

    - Provide and maintain positive air pressure in segregated rooms or areas where high-risk food processing is performed, and which require a higher level of hygienic practice to prevent contamination by pathogenic organisms. Potential airborne contaminants can include particulates, bacteria, mold spores, viruses, water vapor, water aerosols, oil aerosols, and allergens. Refer to Environmental Monitoring Program

    - Consider factors such as room dimensions, potential contaminants, product risk, temperature, humidity, filtration, pressurization, sanitation methods, maintenance access, and employee comfort when designing the systems and equipment supplying clean, filtered air in high-risk areas.

    - Design airflow to keep food and food contact surfaces clean and free from contaminants and ensure that air flows from high-risk to low-risk areas.

    - Appropriate filtration and proper maintenance to air supply source or equipment and cleaning or changing of filters at a frequency appropriate to the product and process are covered in the Preventive Maintenance programs. Any maintenance must be done hygienically.

- Responsibility

  - Quality Department / Preventative Control Qualified Individual (PCQI)

    - Visually inspect areas for compliance with this policy.

    - Oversee (Verify) compliance of procedure.

    - Ensure personnel are trained in this policy and procedures.

    - Monitor and take corrective action to ensure compliance with this policy.

    - Validate training and adherence to policy and procedure.

    - Monitor and document non-conformance observation, also known as discrepancy, using Corrective Action Preventive Action-CAPA Report.

    - Ensure the environmental monitoring testing schedule for the identified high-risk processing area is properly performed and maintained.

  - Maintenance

    - Ensure compliance with Ventilation standard requirements when designing and constructing ventilation equipment and installation of appropriate positive air pressure.

    - Performs preventive maintenance of Ventilation/Positive Air Pressure system.

- Corrective Action

  - When condensates build up in cooking areas or other areas where heat or steam is applied, check for the adequacy of ventilation in the area. Install appropriate equipment to ensure proper ventilation.

- Review Quality

  - Annual review of compliance with Ventilation requirements by observing the following:

    - Food processing areas have adequate ventilation;

    - Cooking areas are adequately exhausted;

    - There is no condensation present over product or food contact surfaces in cooker areas;

    - Positive air pressure exists in high-risk processing areas.

    - Exhaust fans and compressors are cleaned.

    - Condition of compressor filters

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | YYYYMMDD | Original | ENTER AUTHOR NAME | ENTER TITLE / ENTER DEPARTMENT |

Requirements:

- The trainee (employee/visitor) has read or received a verbal translation of all or part of the policy, procedure, method, and/or SOP for which they are being trained.

- The trainee has observed a demonstration of the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and minimal supervision.

| TRAINEE (Print Name): | TRAINEE (Signature): | Date: | Department: |
| --- | --- | --- | --- |
| Trainer / Supervisor (Print Name): | Trainer (Signature): | Date: | Department: |

*Should you need assistance in customizing this document please email services@consultareinc.com