| Document Title: Calibration – Table Scales SOP | Document Control No.: [Enter Document Control No.] | Rev. No: [Enter Revision No.] |
| --- | --- | --- |
| Department: [Enter Department] | Supersedes: Original | Effective Date: [Enter Date] |
| Prepared by: [Affix Name, Signature, Position Title] | Reviewed by: [Affix Name, Signature, Position Title] | Approved by: [Affix Name, Signature, Position Title] |
| Date: [Enter Date] | Date: [Enter Date] | Date: [Enter Date] |

- Purpose:

  - To provide a standardized procedure designed for calibration of table scales

  - To reduce quality costs through early detection of non-conforming products and reprocesses with the use of accurate measuring table scales

- Frequency:

  - Internal – Every day or every shift

  - External/Third Party – Annual

  - [ADD FREQUENCY HERE]

- Tools and Equipment:

  - Test Weights (ENTER SPECIFICATIONS)

  - Personal Protective Equipment (PPE)

    - Gloves

  - Clip Board

  - Paper and Pen

  - Camera (Photos for reference)

  - [ENTER LIST OF EQUIPMENT HERE]

- Consumable:

  - None

  - [ENTER LIST OF CONSUMABLES HERE]

- Responsibility:

  - Corporate Engineering Department – to provide a master calibration plan and ensure that the instrument used for calibration is compliant with national standard

  - Plant Engineering Department – to ensure conformance to schedule and frequency of calibration of table scales

  - Plant Management Team and all concerned – to implement calibration policy

  - [ADD OR CUSTOMIZE RESPONSIBLE PERSON HERE]

- Procedure/Instructions:

  - Check the table scale for any visual defects that may affect its accuracy. If defects are noted, discontinue calibration.

  - Place the table scale on a flat surface, ensuring there is plenty of space around the scale for safe operation.

  - Remove anything that has been placed on top of the table scale.

  - Turn on and set to calibration mode.

  - Place respective test weights, then record.

- Corrective Action:

  - If a table scale is malfunctioning or unable to be calibrated, contact the manufacturer for further instructions.

  - Avoid usage of uncalibrated table scales.

  - Refrain from moving and placing table scales in different locations.

  - [ADD OR CUSTOMIZE CORRECTIVE ACTION HERE]

- Reference Document:

  - Calibration Policy

  - Calibration Plan

  - Calibration Record Sheet

  - [ADD OR CUSTOMIZE REFERENCE DOCUMENT HERE]

- History/Changes:

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | YYYYMMDD | Original | ENTER AUTHOR NAME | ENTER TITLE/ENTER DEPARTMENT |

*Should you need assistance in customizing this document, please email services@consultareinc.com