Fixed Extinguishing System, Dry Chemical Lesson

- Policy

  - Management ensures that a fixed extinguishing system (dry chemical) meets the regulatory compliance.

  - Applicable private agency handling regulations are an option in making the certification.

  - Inspection of the fixed extinguishing system (dry chemical) is monitored and always documented.

  - Orientation, testing, and verification of the program are documented.

- Procedure

  - Rules and regulations of the fixed extinguishing system, dry chemical, shall comply with the following consensus standards:

    - 1910.160 Subpart L – Fire Protection

    - 1910.161(a) Scope and application to meet OSHA standards

    - 1910.161(b)(1) The employer shall check the dry chemical agents with any foams or wetting agents with which they are used.

    - 1910.161(b)(2) Dry chemical extinguishing agents of different compositions must not be mixed. The employer shall assure that dry chemical systems are refilled with the chemical stated on the approval nameplate or an equivalent compatible material.

    - 1910.161(b)(3) When dry chemical discharge may obscure vision, the employer shall provide a pre-discharge employee alarm which complies with 1910.165 and will give employees time to exit from the area safely.

    - 1910.161(b)(4)	The employer shall sample the dry chemical supply of all but stored pressure systems at least annually to assure that the dry chemical supply is free of moisture which may cause the supply to cake or form lumps.

    - 1910.161(b)(5) The employer shall assure that the rate of application of dry chemicals is such that the system's designed concentration will reach within 30 seconds of initial discharge.

  - Onsite Inspection

    - Verification of the fixed extinguishing system using dry chemical agents shall be performed every delivery. The inspection protocol report will include the date of receipt, Company Name, Truck/vehicle plate number, and Country of origin.

    - Visual inspection of dry chemical agents shall be made if there is a problem regarding the quality.

    - Onsite locations shall always be checked if the extinguisher equipment and dry chemical agents are stored properly.

  - Testing of Fixed Extinguishing System using Dry Chemical Agents

    - Visual inspection of the extinguisher equipment shall be made to make sure all systems are properly working.

    - Testing of the extinguisher equipment and reporting of any problems shall be made to the management if any difficulty with its usage may arise.

  - Training and Seminars

    - The regulatory board shall make training of personnel on how to use the extinguisher equipment.

    - Seminars shall be conducted to educate the personnel on possible dangers and calamities in any situation.

- Responsibility

  - HR Department

    - Make the rules and regulations that meet the standards.

    - Make sure that all employees follow the rules and regulations.

  - Administrative Department

    - Check the purchase order and record the delivery receipts.

  - Quality Department

    - Inspect the vehicle and transportation equipment for verification of compliance to standards.

- Corrective Action

  - Document verification at receiving

    - In the event, that official documents are not present when the extinguisher equipment arrives at the onsite facilities, do the following:

      - Reject material; or

      - Place on hold and call the supplier for solutions

      - Do not use material until verification is complied with

  - Quality Requirements

    - In the event the requirements do not meet the quality standards, do the following:

      - Reject materials; or

      - Place on hold and call the supplier for solutions

      - Do not use material until verification is complied with

  - Specifications

    - In the event, suppliers do not comply with the criteria, changing of the supplier of the equipment shall be made.

- Review

  - Review of the criteria for developing and approving rules and regulations.

  - Confirmation that the chosen supplier complies with the standards.

  - Documentation of specifications to relevant departments.

  - Interview of employees using the equipment as validation activities.

  - A review of this program is conducted periodically.

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | Enter Revision Date Here | Enter Description of Change Here | ENTER AUTHOR NAME | ENTER TITLE / ENTER DEPARTMENT |

Requirements:

- The trainee has read or received a verbal translation of all or part of the policy, procedure, method, and or SOP for which they are being trained.

- The trainee has demonstrated the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and with minimal supervision as required.

*Should you need assistance in customizing this document please email services@consultareinc.com