Fire Prevention Plans Training Material and Comprehension Quiz

- Policy

  - A fire prevention plan is developed and maintained in the workplace, where it is always available for employee review.

  - The management informs employees of the fire hazards they are exposed to upon initial assignment to a job.

  - The management ensures that the components of the fire prevention plan that are necessary for self-defense are discussed with each employee.

  - Employees are trained to prevent or avoid workplace fires by increasing their fire safety knowledge.

- Procedure

  - Requirements for Fire Prevention Plan

    - List of Major Fire Hazards

    - Proper handling and storage procedures for hazardous materials

    - Potential ignition sources and their control

    - Type of fire protection equipment necessary to control each major hazard

    - Procedures to control accumulations of flammable and combustible waste materials

    - Procedures for maintaining the safeguards installed on heat-producing equipment to prevent combustible materials from igniting accidentally.

    - The name or job title of employees responsible for maintaining equipment to prevent or control sources of ignition or fires

    - The name or job title of employees responsible for controlling fuel source hazards.

  - Employee Training Requirements - standard training employees have included:

    - Emergency Exit

      - Ensure all exits are properly marked and included in the plan so all employees can find their way out of the building during a fire.

    - Fire Drills

      - Ensure that fire drill schedules are conducted at least once every six months to ensure effectiveness.

    - Fire Extinguishers

      - Training should include hands-on use of a fire extinguisher and updates on any new policies.

  - Classification of Materials

    - Class A Materials - materials that will not ignite independently but will continue to burn if exposed to a sufficient heat source.

    - Class B Materials - all gases, liquids, greases, and similar materials can burn when exposed to flame, heat, or other ignition sources.

    - Class C Materials - any electrically powered devices or materials.

    - Class D Materials - any volatile material that can ignite quickly.

  - Ignition Sources

    - Heat Sources - space heaters, furnace vents, ovens, combustion engines, machines that produce heat

    - Open Flames - welding torches, gas furnaces, gas ovens, and lighters (smoking areas).

    - Sparks - metal saws, wood saws that cut materials that contain nails or screws, metal drills.

    - Chemical Ignition - any chemicals that combust under normal conditions.

  - Fire Suppression Options

    - Fire Extinguisher - located throughout the facility, especially in areas where there is a higher-than-normal risk of fire.

    - Sprinkler Systems - connected to smoke or heat detectors to activate when a fire occurs.

- Responsibility

  - Employer

    - The management ensures that each employee is aware of the components of the fire prevention plan that are required for self-defense

  - Employee

    - Take prompt and appropriate action in the event of a fire emergency.

  - Fire Brigade Team

    - Present basic fire prevention training to all employees upon employment and maintain documentation of the training.

    - Ensure that he/she has trained personnel specifically at least in basic fire prevention.

- Corrective Action

  - In the event of changes in the fire prevention plan, review and update all relevant documents to maintain compliance with the applicable regulations and standards.

- Review - Quality

  - Review the fire prevention plan at least once a year and as needed.

  - Determine whether employees have received the necessary training.

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | 20220903 | Original | Arnel Ryan | PCQI / Compliance |
| 1 | 20241209 | - Aligned with Program - Changed title part from Lesson to Training Material and Comprehension Quiz - Changed email from etrr@consultareinc.com to rfp@consultareinc.com - Added title to Comprehension Quiz section - Added Answer Key | Arnel Ryan | PCQI / Compliance |

Requirements:

- The trainee has read or received a verbal translation of all or part of the policy, procedure, method, and or SOP for which they are being trained.

- The trainee has demonstrated the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and with minimal supervision as required.

| TRAINEE (Print Name): | TRAINEE (Signature): | Date: | Department: |
| --- | --- | --- | --- |
| Trainer / Supervisor (Print Name): | Trainer (Signature): | Date: | Department: |

UPON COMPLETION – EMAIL TO rfp@consultareinc.com

| NAME (Print): | Date: |
| --- | --- |

# Fire Prevention Plans Comprehension Quiz

Direction: Choose the best answer and encircle the letter.

- ________ must be located throughout the facility, especially in areas where there is a higher-than-normal risk of fire.

  - Ignition Source

  - Fire Extinguisher

  - Sprinkler System

- Who will ensure that each employee is aware of the components of the fire prevention plan that are required for self-defense?

  - Supervisor

  - Employee

  - Employer

- What class material that all gases, liquids, greases, and other similar materials can burn when exposed to flame, heat, or other ignition sources?

  - Class A Material

  - Class B Material

  - Class C Material

- What glass material that will not ignite independently but will continue to burn if exposed to a sufficient heat source.?

  - Class A Material

  - Class C Material

  - Class D Material

- Fire prevention plan must review at least ________ and as needed.

  - Once a Week

  - Once a Year

  - Once a Month

## UPON COMPLETION – EMAIL TO rfp@consultareinc.com