Water Supply Training Material and Comprehension Quiz

- Policy

  - The use of non-potable water shall be controlled such that:

    - There is no cross-contamination between potable and non-potable water lines;

    - Non-potable water piping and outlets are identified, and

    - Hoses, taps, or other similar sources of possible contamination are designed to prevent backflow or back-siphonage.

  - Water potability tests are conducted regularly based on established frequency by a certified third-party laboratory.

  - To prevent contamination, only potable water is used for processing and sanitation activities.

- Procedure

  - Source of Water Supply

    - Potable water supply at the correct temperature and pressure prescribed by applicable legislation has sufficient capacity for all scheduled production needs and meets cleaning and sanitation requirements.

    - The water supply is adequate for the operations intended and derived from an adequate source. Any water that contacts food, food-contact surfaces, or food-packaging materials must be safe and adequately sanitary. Running water at a suitable temperature and under pressure, as needed, is provided in all areas required for food processing, cleaning equipment, utensils, food packaging materials, or employee sanitary facilities.

    - The potable water source, on-site storage (if applicable), and reticulation are identified.

    - Non-potable water is not connected or refluxed into the potable water system.

  - Testing of Water Supply

    - Potable or drinking water is safe enough to be consumed by humans or used with a low risk of harm.

    - Water potability testing is conducted to verify the cleanliness of the supply, the monitoring activities, and the effectiveness of the treatment measures implemented.

    - Testing of non-potable water meets specified quality requirements relevant to the application.

    - Test and sample methods are recognized and approved by the government agencies having jurisdiction over the approval of the water source.

    - Water analysis is performed internally or by duly accredited laboratories.

    - Records of test results are maintained.

  - Emergency Plans

    - A documented contingency plan is in place in the event of an incidence where the potable water system is deemed to be contaminated for inappropriate use.

    - It is recommended that the pipes used in the potable water system be disinfected.

  - Availability of Water Supply

    - The site ensures the availability of sufficient supplies of water for personnel hygiene and cleaning purposes.

  - Storage and Distribution Facilities

    - Even though the water supply comes from the town or regional water supply in which the water is treated, safety tested, and maintained by the local authority, it is required that storage and distribution facilities ensure their water at the point of use comply with regulations.

  - Water used in any processing operation from a microbiologically potable source.

    - Costco requires this to be confirmed through testing by a certified third-party laboratory.

    - Costco requires any municipal water source to be tested annually and well water to be tested quarterly.

      - Samples must be drawn from various sites throughout the facility, and test records are to be maintained.

      - Water used for either processing or sanitation purposes must be tested for generic E. coli.

  - A separate and clearly identified line exists for potable and non-potable water.

  - Hoses and water lines are protected against cross-connection or backflow to prevent contamination of potable water.

  - When recirculated or reused water is used for rinsing, washing, or conveying food, testing is conducted to ensure it does not increase the food contamination level.

- Responsibility

  - Quality Personnel

    - Perform in-house monitoring and testing of the water source and water quality used in the production.

    - Ensure adequate potable water for cleaning and sanitation.

    - Ensure the availability and efficacy of the contingency plans established for possible potable water system contamination.

    - Review and analyze water potability and Escherichia coli test results.

    - Retains records of water test results.

  - Senior Management

    - Secure potable and non-potable water sources from a known and reliable source.

    - Ensure an adequate supply of potable water for processing needs.

    - Verify if the program is adhered to and take necessary corrective actions.

- Corrective Action

  - If the potable water system is deemed contaminated, temporarily close the water line to prevent misuse.

  - If the potable water system is deemed contaminated, temporarily change to an alternative clean water source.

  - Contaminated water is not used for processing and cleaning unless the water potability test and Escherichia coli are within the safe limits.

  - Apply established procedures in the contingency plan.

- Review - Quality

  - The Water Supply Program is reviewed annually or during changes.

  - Water used in manufacturing is from a potable source.

  - Potable water availability is adequate for operational needs.

  - Potable water availability is adequate to meet cleaning requirements.

  - Water is free from Escherichia coli before processing and sanitation.

  - Water potability test results from various sites within the facility are reviewed and analyzed.

  - Water used for processing and cleaning activities does not contaminate food products.

  - Hot water is available for cleaning purposes.

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | 20220807 | Original | Arnel Ryan | PCQI / Compliance |
| 1 | 20230913 | - Aligned with the updated program. - Updated the Policy, Procedure, Responsibility, Corrective Action and Review-Quality to align with Costco requirements. | Arnel Ryan | PCQI / Compliance |
| 2 | 20240603 | Changed Lesson to Training Material and Comprehension Quiz. | Arnel Ryan | PCQI / Compliance |

Requirements:

- The trainee (employee/visitor) has read or received a verbal translation of all or part of the policy, procedure, method, and/or SOP for which they are being trained.

- The trainee has observed a demonstration of the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and minimal supervision.

| TRAINEE (Print Name): | TRAINEE (Signature): | Date: | Department: |
| --- | --- | --- | --- |
| Trainer / Supervisor (Print Name): | Trainer (Signature): | Date: | Department: |

UPON COMPLETION – EMAIL TO rfp@interlinkiq.com

| NAME (Print): | Date: |
| --- | --- |

Water Supply Comprehension Quiz

Direction: Choose the best answer and encircle the letter.

- Potable water supply at the correct temperature and pressure prescribed by applicable legislation has sufficient capacity for all scheduled production needs and meets cleaning and sanitation requirements.

A.  True

  - False

- The ___________ must be adequate for the operations intended and must be derived from an adequate source.

- Air supply

- Cleaning supply

- Water supply

- ___________ is not connected or reflux into the potable water system.

A.   Tap water

  - Running water

  - Non-Potable water

- ______________, or drinking water is safe enough to be consumed by humans or used with low risk of harm.

  - Running water

  - Potable water

  - Hot water

- The site must ensure the availability of sufficient supplies of water for ____________ and cleaning purposes.

- Personnel hygiene

- Health needs

- Sanitation purposes

UPON COMPLETION – EMAIL TO rfp@interlinkiq.com