Weight & Measure Calibration Policy Lesson

- Policy

  - Measuring equipment listed on the Approved Equipment Calibrated List is tested for accuracy before its utilization and is certified on an annual basis to verify its effectiveness and calibration by a third-party certified provider.

- Procedure

  - Disposition of affected products.

    - In the event the calibrated equipment fails during its intended use, products affected are placed on hold by personnel, and report the failed equipment and the product affected to the Quality department and respected supervisors and management.

    - Affected materials are tagged by Quality personnel to be held, inspected, and verified for accuracy of their measure to ensure accuracy of the intended measure before product release.

  - Approved calibrated equipment protection

    - Calibrated equipment is kept secure in the production room where assigned.

    - Quality personnel verifies the accuracy of assigned calibrated equipment before use and at a minimum of an hour thereafter, as required by the product production process.

  - Third-party approved calibration certification

    - Approved third-party calibration certifying bodies are utilized to perform the annual calibration certification.

    - Third-party calibration certification provider follows the following to be considered as an approved provider for the company;

      - Utilization of ISO Guide 25 guidelines or

      - Utilization of ISO 10012 guidelines

  - Calibration certification frequency

    - All calibrated equipment listed on the Approved Equipment Calibrated List is recalibrated for accuracy on an annual basis.

  - Record Keeping & Monitoring

    - Records are monitored by the Quality or Compliance Department and kept in an organized manner.

- Responsibility

  - Quality Personnel

    - Segregate all affected products by;

      - Verifying storage locations for the appropriate product and their categories (Dry, Refrigerated, Frozen, etc.)

    - Identifying affected products by placing a “Quality Hold” tag, which includes the following information;

      - Material Name

      - Mfg. Lot / Batch No.

      - Quantities of affected materials

      - Material Expiration Date

      - Reason

    - Affix his or her signature on the Quality Hold for identification.

    - Verify the acceptability of food by;

      - Remeasuring its intended measure as required

  - Releasing Personnel

    - Authorized personnel to release products from Quality Hold are as follows;

      - Management Team

      - Quality Manager

- Corrective Action

  - In the event the calibrated equipment fails during its intended use, the products affected are placed on hold by personnel, and reports of the failed equipment and the product affected are to the Quality department and respected supervisors and management.

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | 20230109 | Original | Arnel Ryan | PCQI / Compliance |

Requirements:

- The trainee (employee/visitor) has read or received a verbal translation of all or part of the policy, procedure, method, and/or SOP for which they are being trained.

- The trainee has observed a demonstration of the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and minimal supervision.