Weight & Measure Calibration Training Material and Comprehensive Quiz

- Policy

  - Measuring equipment listed on the Approved Equipment Calibrated List is tested for accuracy before its utilization. It is certified annually to verify its effectiveness and calibration by a third-party certified provider.

- Procedure

  - Disposition of Affected Products

    - If the calibrated equipment fails during its intended use, products affected are placed on hold by personnel, and reports of the failed equipment and the affected product are addressed to the Quality Department and respected supervisors and management. Refer to Equipment Tag.

    - Affected materials are tagged by Quality personnel to be held, inspected, and verified for accuracy of their measure to ensure accuracy of the intended measure before product release.

  - Approved Calibrated Equipment Protection

    - Calibrated equipment is kept secure in the production room where assigned.

    - Quality personnel verifies the accuracy of assigned calibrated equipment before use and at least an hour after that, as required by the product production process.

  - Third-party approved calibration certification

    - Approved third-party calibration certifying bodies are utilized to perform the annual calibration certification.

    - Third-party calibration certification provider follows the following to be considered as an approved provider for the company;

      - Utilization of ISO Guide 25 guidelines or

      - Utilization of ISO 10012 guidelines

  - Calibration certification frequency

    - All calibrated equipment listed on the Approved Equipment Calibrated List is recalibrated for accuracy annually.

  - Record Keeping & Monitoring

    - Records are monitored by the Quality or Compliance Department and kept in an organized manner.

- Responsibility

  - Quality Personnel

    - Segregate all affected products by;

      - Verifying storage locations for the appropriate product and their categories (Dry, Ambient Storage)

    - Identifying affected products by placing a Quality “Hold Tag,” which includes the following information;

      - Material Name

      - Mfg. Lot / Batch No.

      - Quantities of affected materials

      - Material Expiration Date

      - Reason

    - Affix the signature on the Quality Hold for identification.

    - Verify the acceptability of food by

      - Remeasuring its intended measure as required.

  - Releasing Personnel

    - Authorized personnel to release products from Quality Hold are as follows;

      - Management Team

      - Quality Supervisor

- Corrective Action

  - If the calibrated equipment fails during its intended use, personnel places the products affected on hold, and reports of the failed equipment and the affected product are to the Quality department and respected supervisors and management.

- Review – Quality

  - All instruments to ensure quality, safety, sanitation, and legal compliance must be calibrated. In addition, if monitoring devices are necessary to ensure worker safety and/or the safe operation of equipment, they are included in the calibration program.

  - The quality supervisor ensures that the instruments are properly calibrated.

    - Evaluate all monitoring instruments in the plant and determine whether calibration is necessary.

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | 20220805 | Original | Arnel Ryan | PCQI / Compliance |
| 1 | 20230927 | - Aligned with the updated program. - Updated the Policy, Procedure, Responsibility, Corrective Action, Review-Quality | Arnel Ryan | PCQI / Compliance |
| 2 | 20240606 | Changed Lesson to Training Material and Comprehension Quiz. | Arnel Ryan | PCQI / Compliance |

Requirements:

- The trainee (employee/visitor) has read or received a verbal translation of all or part of the policy, procedure, method, and/or SOP for which they are being trained.

- The trainee has observed a demonstration of the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and minimal supervision.

| TRAINEE (Print Name): | TRAINEE (Signature): | Date: | Department: |
| --- | --- | --- | --- |
| Trainer / Supervisor (Print Name): | Trainer (Signature): | Date: | Department: |

UPON COMPLETION – EMAIL TO rfp@interlinkiq.com

| NAME (Print): | Date: |
| --- | --- |

# Weight & Measure Calibration Comprehension Quiz

Direction: Choose the best answer and encircle the letter.

- Who is responsible for verifying the accuracy of assigned calibrated equipment before use and at least an hour after that, as required by the product production process?

  - Quality Personnel

  - Releasing Personnel

- All calibrated equipment listed on the Approved Equipment Calibrated List is recalibrated for accuracy __________.

  - Weekly

  - Monthly

  - Annually

- If the calibrated equipment fails during its intended use, personnel place the affected products on hold.

  - True

  - False

- Affected materials are tagged by ___________ to be held, inspected, and verified for accuracy of their measure to ensure accuracy of the intended measure before product release.

  - Quality Personnel

  - Releasing Personnel

- ____________ are authorized personnel to release products affected by calibrated equipment failure from Quality Hold.

  - Management Team

  - Quality Supervisor

  - Both A and B

UPON COMPLETION – EMAIL TO rfp@interlinkiq.com