Water Supply Lesson

- Policy

  - The use of non-potable water is controlled such that:

    - There is no cross-contamination between potable and non-potable water lines;

    - Non-potable water piping and outlets are clearly identified; and

    - Hoses, taps, or other similar sources of possible contamination are designed to prevent backflow or back-siphonage.

- Procedure

  - Source of Water Supply

    - Potable water supply at the correct temperature and pressure prescribed by applicable legislation has sufficient capacity for all scheduled production needs and meets cleaning and sanitation requirements.

    - The water supply is adequate for the operations intended and derived from an adequate source. Any water that contacts food, food-contact surfaces, or food-packaging materials must be safe and of adequate sanitary quality. Running water at a suitable temperature and under pressure, as needed, is provided in all areas where required for the processing of food, for the cleaning of equipment, utensils, and food-packaging materials, or for employee sanitary facilities.

    - The potable water source is identified, and on-site storage (if applicable) and reticulation are.

    - Non-potable water is not connected or refluxed into the potable water system.

  - Testing of Water Supply

    - Potable water, or drinking water, is water that is safe enough to be consumed by humans or used with a low risk of harm.

    - Water potability testing is conducted to verify the cleanliness of the supply, the monitoring activities, and the effectiveness of the treatment measures implemented.

    - Testing of non-potable water meets specified quality requirements relevant to the application.

    - Test and sample methods are recognized and approved by the government agencies having jurisdiction over the approval of the water source.

    - Water analysis is performed internally or by duly accredited laboratories.

  - Emergency Plans

    - A documented contingency plan is in place in the event of an incidence where the potable water system is deemed to be contaminated for inappropriate use.

    - It is recommended that the pipes used in the potable water system can be disinfected.

  - Availability of Water Supply

    - The site ensures the availability of sufficient supplies of water for personnel hygiene and cleaning purposes.

  - Storage and Distribution Facilities

    - Even though the water supply comes from the town or regional water supply in which the water is treated, safety tested, and maintained by the local authority, it is required that storage and distribution facilities ensure their water at the point of use and comply with regulations.

  - Water in the processing operation

    - Water used in any processing operation from a microbiologically potable source.

      - Samples must be drawn from various sites throughout the facility, and test records are to be maintained.

      - Water used for either processing or sanitation purposes must be tested for generic E. coli.

- Responsibility

  - Quality Personnel

    - Perform in-house monitoring and testing of the water source and water quality used in the production.

    - Ensure adequate potable water for cleaning and sanitation,

    - Ensure the availability and efficacy of the contingency plans established for possible potable water system contamination.

  - Senior Management

    - Secure that water sources for potable and non-potable water are from known and reliable sources.

    - Ensure an adequate supply of potable water for processing needs.

    - Verify if the program is adhered to and take corrective actions if necessary.

- Corrective Action

  - If the potable water system is deemed contaminated, temporarily change to an alternative clean water source.

  - Apply established procedures in the contingency plan.

- Review - Quality

  - Water used in manufacturing is from a potable source;

  - Potable water availability is adequate for operational needs;

  - Potable water availability is adequate to meet cleaning requirements;

  - Hot water is available for cleaning purposes.

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | 20230111 | Original | Arnel Ryan | PCQI / Compliance |

Requirements:

- The trainee (employee/visitor) has read or received a verbal translation of all or part of the policy, procedure, method, and/or SOP for which they are being trained.

- The trainee has observed a demonstration of the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and minimal supervision.