Water Quality Lesson

- Policy

  - Areas where potable water is used, e.g., washing food products as an ingredient, cleaning, and manufacturing ice or steam that comes into contact with a food product or food contact surfaces, are identified.

  - The supplier is aware of the national and/or international potable water standards and any customers’ microbiological or chemical water standards.

  - The rate at which water is tested is based on risk, owing to the potential for seasonal variations in the supply. At a minimum, however, water is tested, at least annually, for potability and any additional quality or safety attribute.

  - Documentation of analysis on a contact surface of food equipment, air, and water is implemented for microbiological and chemical attributes that pose potential concerns for spoilage or contamination, considering the source of water, on-site storage and distribution facilities, previous sample history, and usage.

- Procedure

  - Water Quality Test

    - The analysis is conducted to ensure water continues to meet the required standard. Refer to the Water Supply Testing Result Log.

    - Request Lab tests and analyses conducted by the ENTER CITY NAME every year and review them for compliance. The lab results shall be maintained on file.

    - Any water that is used in the operation that could come in contact with the product or for personnel hygiene purposes is verified to comply with local and national standards.

    - Monitoring and/or analysis can be conducted to ensure water meets the required standard. The monitoring may involve one or a number of the following:

      - Regular testing of water (e.g., pH, turbidity);

      - Checking filtration apparatus and changing it as required, refer to Company Specifications and/or Inspection and Maintenance Records Log

      - Regular cleaning of water holding tanks and reservoirs.

    - Conduct a verification lab test once a year of one sample collected inside the plant where the water is utilized for various purposes and conduct the microbiology and Physicochemical lab tests from an authorized lab. The results will be verified and maintained on file. The frequency of analysis has been implemented based on risk.

  - Water Quality Standards

    - For example, in the US, the potability standard for drinking water is <1 coliform / 100 mL water and membrane filtration is the preferred method.

    - Standards also apply for Salmonella spp., Shigella spp., enterovirulent E. coli, Vibrio cholera, Yersinia enterocolitica, Campylobacter jejuni, and protozoa.

      - Relatively sensitive to disinfection;

      - Control measures that can be applied to manage risk include protecting raw water supplies from human and animal waste, adequate treatment, and water protection during distribution.

  - Water Risk Assessment

    - The rate at which water is monitored or tested is based on risk, owing to the potential for seasonal variations in the supply, but at minimum, water quality is monitored and assessed for compliance at least annually. Refer to the Risk Assessment Sheet.

    - This includes portability and any additional quality or safety attribute.

    - Recognized guidance or hiring a suitable external resource to collect samples is utilized.

  - Laboratory

    - An outside laboratory, when utilized, is properly accredited to complete the desired analysis.

    - The water is re-tested whenever the water source is changed or when equipment is added to treat or convey water within the site’s water system.

    - Where the water treatment occurs on-site, either before usage or as a treatment of wastewater, the treatment needs to have applicable analysis verifying the efficiency of the treatment.

    - Even though the water supply may come from the town or regional water supply where the water is treated, safety tested, and maintained by the local authority, storage, and distribution facilities ensure their water at the point of use complies with regulations.

  - Compressor Air Maintenance

    - Compressed air used in the manufacturing process shall be cleaned and present no risk to food safety.

    - The replacement of the compressed air filter shall be included in the PM program and conducted according to manufacturing recommendations.

    - Conduct monitoring of lab test a year of one sample collected where the air is utilized for various purposes and conduct the microbiology test.

- Responsibility

  - Quality Personnel

    - Ensure the water testing procedure is documented and implemented.

    - Conducts sample collection and microbiological testing to verify water cleanliness in the facility.

    - Conducts regular monitoring of water testing.

    - Monitors filtration apparatus.

    - Monitors cleaning of water holding tanks and reservoirs.

    - Monitors sanitizer levels in the water.

  - Production Personnel

    - Checks and changes filtration apparatus, as required.

    - Regular cleaning of water holding tanks and reservoirs.

  - Supervisors / Department Heads / Team Leaders.

    - Ensure (inspect) and verify this policy and procedure is adhered to.

    - Take corrective action to ensure compliance with this policy.

- Corrective Action

  - If the main water source is deemed contaminated, temporarily change to an alternative water source/s.

  - Using backup disinfection plants or spot dosing may correct disinfection system failure within the water supply.

  - Review and revise the water quality testing procedure.

- Review – Quality

  - There is a documented water testing procedure, including frequency and test method.

  - Water is microbiologically tested to verify the cleanliness of the supply and the effectiveness of treatment methods.

  - Appropriate standards are used to collect and analyze water.

  - Where external laboratories are used, the laboratories are accredited to offer water testing services.

  - Regular monitoring of water testing (e.g., pH, turbidity).

  - Checking and monitoring of filtration apparatus and changing it as required.

  - Regular monitoring of cleaning of water holding tanks and reservoirs.

  - Regularly monitor sanitizer levels in water (levels normally tested at various sites in the food handling and processing areas.).

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | YYYYMMDD | Original | ENTER AUTHOR NAME | ENTER TITLE / ENTER DEPARTMENT |

Requirements:

- The trainee (employee/visitor) has read or received a verbal translation of all or part of the policy, procedure, method, and/or SOP for which they are being trained.

- The trainee has observed a demonstration of the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and minimal supervision.

| TRAINEE (Print Name): | TRAINEE (Signature): | Date: | Department: |
| --- | --- | --- | --- |
| Trainer / Supervisor (Print Name): | Trainer (Signature): | Date: | Department: |

*Should you need assistance in customizing this document please email services@consultareinc.com