| Document Title: Cleaning and Sanitation – Dumpster – SSOP | Document Control No.: [Enter Document Control No.] | Rev. No.: [Enter Revision No.] |
| --- | --- | --- |
| Department: [Enter Department] | Supersedes: Original | Effective Date: [Enter Date] |
| Prepared by: [Affix Name, Signature, Position Title] | Reviewed by: [Affix Name, Signature, Position Title] | Approved by: [Affix Name, Signature, Position Title] |
| Date:[Enter Date] | Date:[Enter Date] | Date:[Enter Date] |

- Purpose:

  - To properly clean the dumpsters of the facilities.

- Frequency:

  - Monthly

  - [ADD FREQUENCY HERE]

- Tools and Equipment:

  - Pressure washer

  - Vacuum cleaner (wet)

  - Pump-up sprayer

  - Shovel

  - Long-handle brush

  - Camera (photos)

  - Personal Protective Equipment (PPE)

    - Cover all

    - Rubber Gloves

    - Mask

    - Waterproof Boots

    - Goggles

  - [ENTER LIST OF TOOLS AND EQUIPMENT HERE]

- Consumable(s):

  - Powdered Detergent

  - Degreaser

  - Liquid Bleach

  - Hot water

  - [ENTER LIST OF CONSUMABLES HERE]

- Responsibility:

  - Dumpster cleaner – performs the cleaning and sanitation of dumpsters.

  - Sanitation supervisor – monitors/inspect the cleanliness and sanitation of dumpsters.

  - Wastewater management personnel – ensures that water containing chemicals is properly disposed of.

  - Quality assurance personnel – ensures proper procedures for cleaning and sanitation of dumpsters are applied.

  - [ADD OR CUSTOMIZE RESPONSIBLE PERSON HERE]

- Procedure/Instructions:

  - Pre-cleaning

    - Ensure that dumpster is completely empty.

    - Dilute the powdered detergent with water

    - Transfer diluted powdered detergent to the pump-up sprayer.

  - Cleaning

    - Pre-rinse dumpster surface with high pressurized water.

    - Apply degreaser to remove grease and fat build-up. Leave for 10-15 minutes.

    - Once the grease starts to melt, apply hot water.

    - Rinse with pressurized heated water (high setting).

    - Use the pump-up sprayer to apply a generous detergent to the dumpster surface.

    - Use the long-handle brush to remove stains and stubborn stains.

    - Rinse detergent with water.

    - Apply a generous amount of bleach for sanitation

    - Rinse bleach with water.

    - Leave to dry.

  - Dumpster pad cleaning

    - Clear up the dumpster pad by manually removing visible trash.

    - If necessary, use the shovel to remove thick layers of grease build-up in the grounds, walls, and doors of the dumpster pad before applying the degreaser.

    - Apply degreaser in affected areas. Leave for 10-15 minutes.

    - Once the grease starts to melt, apply hot water.

    - Rinse degreaser with water.

    - Use the pump-up sprayer to apply detergent to the dumpster pad surfaces.

    - Use the long handle brush to brush off hard to remove particles and stains.

    - Rinse detergent with water.

    - Leave to dry.

  - Vacuum pooled water from cleaning prevents it from reaching the soil and nearby trees/plants, as the pooled water contains various chemicals that are harmful to the environment.

  - Ensure proper disposal of the wastewater.

  - If necessary, treat wastewater before disposal.

  - Inspects if dumpsters are properly cleaned.

  - Fill out the checklist.

  - [ADD OR CUSTOMIZE PROCEDURE HERE]

- Corrective Action:

  - Re-apply degreaser to affected areas where grease build-up is still present.

  - Re-apply detergent to remove dirt particles.

  - Re-apply bleach to remove odor.

  - Issue incidence report and take photos for documentary purposes.

  - Issue CAPA (Corrective and Preventive Action Report) to the involved personnel.

  - [ADD OR CUSTOMIZE CORRECTIVE ACTION HERE]

- Reference Document:

  - Monthly Cleaning and Sanitation Monitoring of Dumpster

  - Wastewater Management Disposal Form

  - SSOP Program of Clean and Sanitized Equipment

  - [ADD OR CUSTOMIZE REFERENCE DOCUMENT HERE]

- History/Changes:

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | YYYYMMDD | Original | ENTER AUTHOR NAME | ENTER TITLE/ENTER DEPARTMENT |

*Should you need assistance in customizing this document please email services@consultareinc.com