Building Materials Training Material and Comprehensive Quiz

- Policy

  - The site’s material and surfaces are designed and constructed to facilitate cleaning and prevent contamination of the final product or process.

  - The floors, drains, and waste traps are built and intended to keep the product and/or process safe as much as possible.

  - The floors, partitions, doors, and ceilings are designed and constructed to minimize the risk to product safety and, in some cases, to provide product protection.

  - Windows near processing areas and skylights directly above product processing or packing facilities are made of shatterproof material or otherwise protected to prevent glass or plastic fragments from entering the product or packaging. Window ledges are inclined downwards for ease of cleaning and to prevent utensils or other things from being stored on them.

  - Doors often exposed to water are made of strong, impact-resistant, non-corrosive materials with a smooth, light-colored surface if possible. The doors between processing rooms that are used to move food to be processed are protected from damage by crates, carts, forklifts, and other similar vehicles.

  - Acceptable surfaces include walls with cement render and smooth finish glazed tiles, fabricated insulated panels, or similar materials. Where there are no light-colored finishes, a written Standard Operating Procedure (SOP) addresses the timely and effective inspection of cleansing adequacy and corrective actions when discrepancies are discovered.

  - Service ducting, conduit, and lines are made so that debris doesn't build up, rodents can't get in, and they are easy to clean.

  - If present, drop ceilings undergo routine inspection and cleaning. In locations without drop ceilings, cleaning procedures and inspections look for dust on ledges, loose fittings, glass windows, light fixtures, and other places where it can collect and fall onto the goods.

  - Stairs, platforms, and catwalks are designed and constructed to prevent contamination.

    - The materials used are rust-proof and easily cleaned. Solid side (kick) plates are installed, and the stairs have slip-resistant treads. Stairs, platforms, and catwalks are kept clean and not used to store tools and equipment.

- Procedure

  - Construction of materials and surfaces

    - The materials and surfaces used at the site are designed and constructed to be easily cleanable and prevent contamination of the finished product or the process.

      - The main feature of the acceptable product contact surface is that it is impervious, non-corrodible, smooth, easy to clean, light-colored, nontoxic, and impact-resistant.

      - Stainless steel, aluminum, hot-dipped galvanized steel, fiberglass, polyvinyl chloride, and nylon are examples of approved product contact surfaces used at the establishment. All other characters are capable of being kept clean and light-colored.

      - Facility checklist

        - The plant layout is such that the exposed product is adequately protected from contamination.

        - Interior floors, walls, and ceilings are clean and in good repair—no standing or accumulation of water.

        - Floors are well-drained, smooth, and clean.

        - Seams between floors and walls are sealed.

        - Ceilings, walls, and overhead equipment are non-porous, cleanable, in good repair, and free of loose calking, rust, or holes. Penetrations for pipes, cords, etc., are sealed.

        - Overhead structures are maintained clean and protected to prevent product contamination.

        - Sealing and wall penetrations are sealed.

        - Ceiling and wall openings not in use are sealed.

        - All walls, ceilings, and fans are free of condensation, clean, and in good repair.

        - Insulation material used on pipes is smooth and easy to clean.

        - Ceiling-to-wall joints are sealed.

        - Pipe and line supports are made of proper materials.

        - All fans, fan guards, and ducts are clean and maintained.

        - Restrooms are well-ventilated, well-lit, and orderly, with self-closing doors and “wash hands” signs.

        - Electrical installations are in good repair and sealed. Installations will be sealed to the wall or offset to allow for cleaning.

  - Floors, Drains, and Waste Traps

    - The floors, drains, and waste traps are designed and constructed to minimize the risk to the product and/or process safety.

      - Drains are easily accessible for cleaning.

      - Grates are removable for access and cleaning.

      - Practices demonstrated to assess the risks to products and to control those identified food safety risks.

        - Floor grading for proper drainage and prevention of standing water.

      - Documentation of floor materials in the site plan or description of thev plant/processing area.

      - Floors provided with proper drainage.

      - Drains are positioned and constructed in a way to allow the effective removal of overflow or wastewater under normal working conditions and are cleaned weekly, along with the grease traps.

      - For instance, if the drainage is not in good condition and flooding or overflow is present, mopping and using a squeegee address the timely and effective removal of wastewater to a drain.

    - Floors are constructed out of smooth, dense, impact-resistant material that can be effectively graded, drained, impervious to liquid, and easily cleaned.

    - Floors are sloped to floor drains at gradients suitable to allow the effective removal of all overflow or wastewater under normal working conditions. Where floor drainage is not available, plumbed options to handle the overflow of wastewater are in place.

    - Waste trap systems are located away from any food handling areas or entrances to the premises.

  - Walls, Partitions, Doors, and Ceilings

    - Walls, partitions, doors, and ceilings are designed and constructed to minimize the risk to product safety and, in some instances to offer protection to the product. The extent to which these elements are relevant will depend on the type of processes and whether the product is enclosed or exposed.

      - Walls, partitions, doors, and ceilings are described in the site plan.

        - Refer to Blueprints (Site Plan).

      - Ceiling design and construction do not pose a threat of product contamination.

      - Walls, partitions, doors, and ceilings are designed to minimize or prevent the accumulation of dirt, condensation, and mold.

      - Wall-to-ceiling, wall-to-wall and wall-to-floor junctions are sealed and cleanable.

      - Walls, partitions, doors, and ceilings are kept clean.

      - Windows - food processing areas.

        - Glass windows are part of our foreign matter control program; identify any windows that could be hazardous to unpackaged products and primary packaging if shattered. Refer to Glass Register.

        - Windows away from the immediate processing areas are generally not recognized as hazardous to packaged food.

        - Windows close to processing areas and skylights immediately above product processing or packaging areas can pose a hazard. Such windows are constructed of shatterproof material or otherwise covered to prevent glass or plastic fragments from entering the product or packaging.

        - Window ledges need to be sloped downwards for easy cleaning and to prevent their use for unwanted storage of utensils or other materials.

      - Doors routinely subjected to water are of solid construction, impact-resistant, non-absorbent materials, avoid splintering parts, flaking paint, and corrosion, preferably with a smooth, light-colored surface. Doors between processing rooms used to transport food for processing are protected against damage by crates, trolleys, forklifts, or similar vehicles.

      - External doors are constructed to be self-closing to prevent the entrance of pests and/or rodents.

      - Doors, hatches, and windows and their frames in food processing, handling, or storage areas are made of a material and construction that meets the same functional requirements as internal walls and partitions.

      - Doors and hatches are of solid construction, and windows are made of shatterproof glass or similar material.

      - Products are processed and handled in areas that are fitted with a ceiling or other acceptable structure that is constructed and maintained to prevent the contamination of products.

      - Drop ceilings are constructed to enable monitoring for pest activity, facilitate cleaning, and provide access to utilities..

    - Cleanability - Refer to SSOPs

      - Walls with cement render and smooth-finish glazed tiles, fabricated insulated panels, or similar materials are examples of surfaces that enable easy cleaning and efficiency

      - Where light-colored finishes do not exist, a written Standard Operating Procedure (SOP) addresses the timely and effective inspection of the adequacy of cleaning and resultant corrective actions when discrepancies are noted. An inspection is included in the internal audit and/or cleaning sanitation schedule.

      - Floor junctions in facilities are rounded to enable easy cleaning and prevent waste build-up. If not, a written SOP addresses the cleaning protocol to meet acceptable hygienic standards for these areas.

      - Drop ceilings can provide a clean, smooth, impervious ceiling surface in the processing area and an area for service runs. However, it can accumulate dust and provide harborage for pests. Drop ceilings, if used, are checked and cleaned regularly. Otherwise, cleaning regimes and inspections check for dust on ledges, loose fittings, glass windows, light fittings, or other areas where dust can accumulate and fall onto the product.

  - Ducting, Conduit, Pipes

    - Ducting, conduit, and pipes that convey ingredients, products, or services, such as steam or water, are designed and constructed to prevent food contamination, components, and contact surfaces and allow easy cleaning.

    - Pipes carrying sanitary waste or wastewater that are located directly over product lines or storage areas are designed and constructed to enable easy cleaning and prevent the contamination of food, materials, ingredients, and food contact surfaces. A risk analysis is conducted to ensure food contamination risks are mitigated.

    - Service ducting, conduit, and pipes are constructed to avoid debris build-up, prevent rodent runs, and allow easy cleaning. It is ideally recessed into walls or ceilings, suspended from ceilings, housed inside drop ceilings with vertical drops to their point of use, or mounted a sufficient distance from walls or ceilings.

  - Stairs, Catwalks, and Platforms

    - All stairs, catwalks, and platforms positioned over any portion of the processing area where the product is exposed are constructed not to present a product contamination risk. The materials used need to be rust-proof and easily cleaned.

    - Solid side (kick) plates are installed, and the stairs have slip-resistant tread.

    - Stairs, platforms, and catwalks are kept clean and not used to store tools and equipment.

    - Stairs, catwalks, and platforms in food processing and handling areas are designed and constructed not to present a product-contamination risk and with no open grates directly above exposed food product surfaces.

- Responsibility

  - Senior Site Management

    - Ensure and verify this policy and procedure is adhered to.

    - Take corrective action to ensure compliance with this policy.

    - Identify and regularly review the work environment needed to comply with requirements.

  - Quality Department

    - Responsible for verifying the SSOPs for the floors, drains, waste traps, walls, partitions, doors, ceilings, stairs, catwalks, and platforms.

    - Validate training and adherence to policy and procedure.

    - Monitor and document non-conformance observation, also known as discrepancy, using the Corrective and Preventive Action Form.

  - Maintenance Department

    - Ensures compliance with the requirement of design and construction of building facility.

  - Sanitation Department

    - Responsible for the implementation of the SSOPs for the floors, drains, waste traps, walls, partitions, doors, ceilings, stairs, catwalks, and platforms.

- Corrective Action

  - Any non-compliance in the implementation of the program:

    - Train all personnel on this policy

  - Non-compliance will require re-training, dismissal from job duties, or termination of employment. If part of the site (floors, drains, waste traps, walls, partitions, doors, ceilings, stairs, catwalks, platforms) imposes a food safety risk:

    - Redesign and reconstruction of the site.

    - Update Blueprints (Site Plan).

- Review – Quality

  - Knowledge of local, state, and federal regulations on the construction and operation of food premises.

  - The site has been approved by relevant authorities for construction.

  - The site is approved by relevant authorities for the production/processing/storage of the applicable product.

  - Approval has been sought and given for changes to facilities or equipment.

  - Food contact surfaces are constructed of materials that do not pose a food safety risk.

  - Non-food contact surfaces are constructed of materials that do not pose a food safety risk.

  - Floors are smooth and easy to clean.

  - Floors are correctly graded to allow for water run-off.

  - Floors are made of appropriate, smooth, dense, impact-resistant material.

  - There are no areas of water pooling or build-up.

  - Procedures are in place to deal with floor areas that are not correctly designed or constructed.

  - Drain locations do not pose a safety risk.

  - Drain construction does not pose a safety risk.

  - Waste traps are located away from food handling areas or entrances to the site.

  - Walls and partitions are of sound construction and made of suitable materials.

  - Doors are of sound construction for the volume and type of traffic.

  - Ceilings are of sound construction and made of suitable materials.

  - Walls, partitions, ceilings, and doors are kept clean.

  - Where a drop ceiling is used, the area is kept clean and tidy.

  - Service lines are designed and constructed for ease of cleaning.

  - The condition of walls, partitions, doors, and ceilings does not pose a food safety risk.

  - Stair design and construction do not pose a food safety hazard to the product.

  - Catwalk design and construction do not pose a food safety hazard to the product.

  - Platform design and construction do not pose a food safety hazard to the product.

  - Stairs, catwalks, or platforms close to an open product have kickboards installed.

  - Stairs, catwalks, or platforms over open products are not constructed of open mesh.

  - Stairs, catwalks, or platforms are kept clean and tidy, with no accumulated trash, tools, or equipment.

6.    History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | 20220223 | Original | Arnel Ryan | PCQI / Compliance |
| 1 | 20230921 | - Aligned with the updated program. - Updated the Policy, Procedure, Corrective Action, Responsibility, Review-Quality, and Comprehension Quiz | Arnel Ryan | PCQI / Compliance |
| 2 | 20240501 | - Changed lesson to training materials and comprehensive quiz. | Arnel Ryan | PCQI / Compliance |

Requirements:

- The trainee (employee/visitor) has read or received a verbal translation of all or part of the policy, procedure, method, and/or SOP for which they are being trained.

- The trainee has observed a demonstration of the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and minimal supervision.

| TRAINEE (Print Name): | TRAINEE (Signature): | Date: | Department: |
| --- | --- | --- | --- |
| Trainer / Supervisor (Print Name): | Trainer (Signature): | Date: | Department: |

UPON COMPLETION – EMAIL TO rfp@interlinkiq.com

| NAME (Print): | Date: |
| --- | --- |

Building Materials Comprehension Quiz

Direction: Choose the best answer and encircle the letter.

- The materials and surfaces used at the site are designed and constructed to be _________ of the finished product or the process.

- easily cleanable

- prevent contamination

- Both A and B

- None of the above

- The floors, drains, and waste traps are designed and constructed to minimize the risk to the product and/or process safety.

- True

- False

- Acceptable surfaces include walls with ____________________ or similar materials.

- cement render and

- smooth finish glazed tiles,

- fabricated insulated panels

- All the above

- Who ensures compliance with the design and construction requirements of the building facility?

A.	Quality Department

B.	Maintenance Department

C.	HR Department

5.   Whose responsibility is to implement the SSOPs for the floors, drains, waste traps, walls, partitions, doors, ceilings, stairs, catwalks, and platforms?

- Sanitation Department

- Maintenance Department

- HR Department

UPON COMPLETION – EMAIL TO rfp@interlinkiq.com