Staff Amenities (change rooms, toilets, breakrooms) Lesson

- Policy

  - Provide a designated area (i.e., locker room) for employee and visitor garments and personal items.

  - In high-risk areas or facilities where clothing can be heavily soiled, provision is made for the laundering of uniforms.

  - Sufficient restrooms/toilets are required to accommodate the number of staff. Their location and design are such that they do not cause a contamination risk to the product, food contact surfaces, areas where the product is exposed, or to food handlers.

  - Employees, contractors, and visitors are prohibited from eating or drinking in food handling areas. Designated lunchrooms are available for staff to take breaks and eat meals. These areas are physically separated from food handling areas.

- Procedure

  - Staff Amenities

    - Provide adequate lunchroom and restroom facilities, as appropriate for the number of employees in operation, based on applicable legislation relevant to the commodity being processed.

    - Provide amenities that have adequate lighting and ventilation.

    - Keep maintained to set an example of clean and orderly food sanitation and housekeeping requirements.

  - Locker Room

    - Locker room (i.e., locker rooms) is provided with lockers for staff and visitors when they are required to change from street clothing to protective clothing to enter the facility.

    - The areas are designed so that materials and personal items cannot be stored on top of the lockers. The area around and under lockers, if not fully sealed, must enable easy cleaning. It is generally recommended that lockers be fitted flush with the ceiling and placed on stands raised off the floor to allow for ease of cleaning.

    - Locker rooms are provided commensurate with the type of operation and the number of employees.

    - Locker rooms are designed to avoid storage on top of lockers and for ease of cleaning.

    - There are facilities for staff to secure personal items.

  - Laundry Area

    - The laundry area is unavailable; the employees use disposable PPE (hairnet, apron, gloves, etc.).

  - Sanitary Facilities

    - Restroom/Toilets

      - Restrooms are properly located and are not open directly into the processing area.

      - In existing facilities where they are in close proximity to areas where the product is exposed, an airlock vented to the exterior is maintained (negative pressure).

      - Staff enter toilet rooms from processing areas through an intervening change room or airlock, ventilated to external air.

      - Where exhaust fans are fitted, fans are exhausted to the outside and not into a food production area. The light and exhaust fan can be inter-wired to create negative pressure as an option, or the light and exhaust fan can be left on continuously.

      - To eliminate the risk of airflow from restrooms into the processing room, exhaust fan off-switches are on timer delay.

      - The light and exhaust fan are on a single switch located outside the restroom.

      - Separate toilet rooms are provided for each gender and are typically located adjacent to and separate from the change room. The number of toilet cubicles to be provided depends on the number of staff or is based on applicable legislation. Suppliers are aware of local legislation, but as a guide:

| Persons of the same Sex | No. of Bowls |
| --- | --- |
| 1-15 | 1 |
| 16-35 | 2 |
| 36-55 | 3 |
| 56-80 | 4 |
| > 80 for each additional 30 persons | 1 |

      - In male toilets, urinals can substitute for up to one-third of the total number of bowls.

      - Employee restrooms are properly equipped with hand wash facilities. Hands-free taps are preferred, particularly in high-risk facilities, and include those that can be operated by foot, knee or elbow or turned on/off via electronic sensing devices. Refer to Handwashing Program.

      - Signage consists solely of icons (such as those published by the International Association for Food Protection) to accomplish these requirements, except restroom signage, where other regulatory requirements are applied.

      - Sanitary drainage is kept separate from drainage from food production areas.

  - Lunchroom/Breakroom

    - Additional outdoor lunchroom facilities (e.g., picnic tables) that do not pose a dust or pest hazard to the operational area of the site are provided.

    - Covered facilities and sealed paths are one way to address hazards.

    - Where hazards presented by such facilities are minimal, alternative control such as routine cleaning of tables and steps to minimize dust on non-sealed paths are employed.

    - The site facility is equipped with a ventilated and well-lit lunch/break room for employees. The room is equipped with a sink serviced with hot and cold potable water, a refrigerator, and a microwave. The area is kept clean.

- Responsibility

  - All Personnel

    - Shall adhere to this policy.

  - Preventative Control Qualified Individual (PCQI)

    - Visually inspect areas for compliance with this policy.

    - Oversee (Verify) compliance of procedure.

    - Ensure personnel is trained on this policy and procedures.

    - Monitor and take corrective action to ensure compliance with this policy.

  - Supervisors or department heads and team leaders are responsible to;

    - Ensure (inspect) and verify that this policy and procedure are adhered to.

    - Take corrective action to ensure compliance with this policy.

  - Quality Control Personnel

    - Validate training and adherence to policy and procedure.

    - Monitor and document non-conformance observation, also known as discrepancy, using the Corrective Action Preventive Action-CAPA Report.

  - Quality / Compliance Department

    - Document control, records, and archive.

- Corrective Action

  - Train all personnel on this policy and reference SSOPs.

  - Non-compliance will require re-training, dismissal from job duties, or termination of employment.

- Review – Quality

  - Amenities are provided commensurate with the type of operation and the number of employees.

  - Amenities are available for all employees who handle products.

  - Staff amenities have adequate lighting.

  - Staff amenities have adequate ventilation.

  - Locker Rooms are provided commensurate with the type of operation and the number of employees.

  - Locker Rooms are available for all employees who work in high-risk areas.

  - Locker Rooms are designed to avoid storage on top of lockers and for ease of cleaning.

  - There are good showers for staff working in high-risk areas or areas where clothing can become heavily soiled.

  - There are facilities for staff to secure personal items.

  - Provision is made for laundering protective clothing worn by staff.

  - Provision is made for the laundering of uniforms of staff working in high-risk areas.

  - A sufficient number of clean, laundered uniforms are available.

  - There are sufficient toilets available for each gender and the number of employees.

  - Toilets do not open directly into processing areas.

  - Toilets can be easily cleaned.

  - The toilets are clean and tidy.

  - Sufficient hand wash basins are available near the toilets.

  - Sanitary drainage is separated from processing site drains.

  - Separate lunch facilities are provided.

  - Lunchroom facilities are adequate for the number of staff.

  - Lunch facilities are separated from processing, product storage, or handling areas.

  - Lunchroom facilities are properly ventilated.

  - Lunchroom facilities are well-lit.

  - Lunchroom facilities include a sink with hot and cold running water.

  - Lunchroom facilities are clean and tidy.

  - Proper heating or cooling facilities are provided in lunch facilities.

  - Hand wash signage is available at the exit of the lunch facilities.

  - Hand wash signage at the exit of lunch facilities is in the appropriate language.

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | 20230111 | Original | Arnel Ryan | PCQI / Compliance |

Requirements:

- The trainee (employee/visitor) has read or received a verbal translation of all or part of the policy, procedure, method, and/or SOP for which they are being trained.

- The trainee has observed a demonstration of the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and minimal supervision.