Calibration Training Material and Comprehensive Quiz

- Policy

  - Test equipment that is used to confirm regulatory requirements (e.g., weight scales) is calibrated against a national or international standard.

  - In cases where a national or international standard does not exist or is not arranged, a reference standard is purchased or created, and/or a standard method (often supplied by the equipment supplier) is used.

  - Identify all the equipment that requires calibration (e.g., thermometers, scales, pH meters, etc.).

  - Ensure the equipment, once calibrated, is protected so that measurements remain accurate.

  - Ensure the equipment is only operated by authorized personnel and using approved methods.

  - Determine how accurate the measurements need to be.

  - Equipment is calibrated regularly.

  - Products produced between the time equipment is discovered as ‘out-of-calibration,’ and the last calibration check with normal tolerances recorded is considered non-conforming and is addressed based on the procedures outlined in Section 2.9.

  - Results of all calibrations are recorded.

  - Calibrated equipment is labeled with a calibration sticker which indicates when it was calibrated and when recalibration is due.

- Procedures

  - Methods

    - All equipment that requires calibration is identified on the master list of equipment preventative maintenance and calibration schedule, not limited to the equipment listed below.

    - Refer to Master List of Equipment Calibration Schedule

      - Precision Scale

      - ATP Tester

      - Capsule Counting Machine

      - Thermometer

  - Methods

    - All equipment that requires calibration is identified on the master list of equipment preventative maintenance and calibration schedule, not limited to the equipment listed below.

    - Refer to Master List of Equipment Calibration Schedule

      - Metal Detectors

      - Scales

      - Sealing Machines

    - The accuracy of measuring equipment and inspection of monitoring equipment used to test food safety parameters meets regulatory, legal, and customer requirement.

    - The equipment used for processing is pre-inspected and tested to ensure the accuracy of information provided to make operational decisions.

    - Testing equipment used to confirm regulatory requirements (e.g., weight/scales) are calibrated against a national or international standard by authorized personnel.

    - In cases where a national or international standard does not exist, a reference standard, method, and frequency, from the original equipment manufacturer may be used.

    - pH meters are calibrated against reference buffer solutions according to the manufacturer's instructions when performed in-house.

    - Thermometers are calibrated against boiling water or ice water if these approximate are the temperatures the thermometer is required to measure when in use.

    - To ensure that measuring equipment gives reliable results, the site must identify all the equipment that requires calibration.

    - Ensure the equipment, once calibrated, is protected so that measurements remain accurate.

    - Approved calibrated equipment protection – Refer to Weight & Measure Calibration Policy

      - Calibrated equipment is kept secure in the production rooms, where assigned, in their designated protective places.

      - The Quality Department verifies the accuracy of assigned calibrated equipment before use and at a minimum of an hour thereafter, as required by the product production process.

      - Any defects or deficiencies in equipment calibration and accuracy are noted at that time.

  - Authorized Personnel

    - Ensure the equipment is only operated by authorized personnel and using approved methods.

      - Quality Department

      - Production Manager

      - Maintenance Technician

      - Authorized Third Party – Calibration service providers

  - Frequency

    - Calibrate equipment regularly. The calibration frequency varies depending on the type of equipment and its usage. Calibration frequency is adjusted considering experience or manufacturer’s instructions. Validation of software, for example, software used to control manufacturing lines or other equipment, is scheduled and performed according to the provider’s recommendation(s).

    - Refer to Master List of Equipment Calibration Schedule

  - Out of Calibration

    - Develop a procedure to address products produced between the time equipment “out of calibration” is discovered and the last calibration checks with normal tolerances recorded.

      - Disposition of affected products. – Refer to QA/QC Department - Hold Tag (Red)

      - In the event the calibrated equipment fails during its intended use, the products affected shall be placed on hold by personnel and shall report the failed equipment and the product affected to QA and respected supervisors, and management.

      - Affected materials will be tagged by QA to be held, inspected, and verified for accuracy of its measure to ensure accuracy of the intended measure before product release.

  - Metal Detectors

    - Standards

      - National Institute of Standards and Technology (NIST)

    - Frequency

      - Calibration check during operation - Hourly

      - Calibration verification – Annually

        - Performed by third-party calibration services.

    - When metal detection is used, the following program applies.

    - Metal detectors are to be checked for in-process calibration hourly.

    - To test the tube detector, introduce the standard with the product thru the sensing head.

    - To test the conveyor detector, place the standard above the package and pass through the sensing head.

    - Standard sizes for the tube detector are 1.5 mm Fe (Ferrous), 1.5 mm Non-Fe (Non-Ferrous), and 2.0 mm SS (Stainless Steel).

    - During operations, if the detector does not detect the above standards,

      - The product going through the metal detector is stopped.

      - The production supervisor is contacted immediately.

      - The product from the last successful test to the failed test is put on QA/QC hold.

      - The metal detector is reset (this usually fixes the issue)

      - When the standards are properly detected, the production line can continue,

      - The product on hold will be resent through the metal detector for clearance.

    - Any product that scans positive is re-passed through the sensing head to confirm the result.

      - Upon the second positive result, reject the package and hold it so the Quality Assurance person can analyze it.

      - If the QA technician finds metal pieces from the production equipment, the equipment must be disassembled and inspected to find the source of contamination.

      - If the source of contamination cannot be confirmed after the end of the shift, all components of processing equipment must be inspected.

      - The product from the last successful test to the failed test is put on QA/QC hold,

      - The product on hold will be resent through the metal detector,

      - When running dry products for processing, an additional step of a Magnet screen is used to capture metal.  This is checked on an hourly basis.

  - Scales

    - Standards

      - California Type Evaluation Program (CTEP)

      - National Type Evaluation Program (NTEP)

      - NIST

    - Frequency

      - Calibration check during operation – Daily

        - Calibration of scales is verified before use.

        - Refer to Weights and Measures Scale Assessment/Calibration Log

        - Refer to Equipment Calibration Sticker

    - Calibration verification – Semi-annually

      - Performed by third-party, assigned to calibration services.

      - All scales are plated with the most current calibration service date for the validity of use, scales that do not have a valid calibration date identified is reported to the Quality Personnel.

      - Scales that are damaged or defective in their function is correctly identified with the Equipment Out of service tag pending calibration maintenance and clearance.

  - Device Calibration and Verification

    - ATP – Adenosine Triphosphate Device Calibration

      - Standards

        - ATP Standards by Swedish Standard Institute

      - Frequency

        - Calibration check during operation -

        - Calibration verification –

          - Performed In-house with provided calibration kit.

          - Performed by Quality Personnel

  - Non-conforming Products

    - If products were passed through equipment that is discovered ‘out-of-calibration,’ the time equipment is discovered as such, and the last calibration check with normal tolerances is determined.

    - All products that were passed through the ‘out-of-calibration’ equipment during the identified time are put on hold and labeled as non-conforming products until quality tests are conducted to verify that products are conforming to standards and are safe for human consumption. (e.g., For metal detectors, pass all products through a calibrated metal detector. For thermometers, conduct microbiological tests).

Products that are identified as non-conforming or unfit for human consumption are rejected and discarded as waste

- Responsibility

  - All Personnel

    - Shall adhere to this policy.

  - Preventive Control Qualified Individual (PCQI)

    - Visually inspect areas for compliance with this policy.

    - Oversee (Verify) compliance of procedure.

    - Ensure personnel is trained on this policy and procedures.

    - Monitor and take corrective action to ensure compliance with this policy.

  - Supervisors or department heads and team leaders are responsible to;

    - Ensure (inspect) and verify this policy and procedure is adhered to and;

    - Take corrective action to ensure compliance with this policy.

  - Quality Control Personnel

    - Validate training and adherence to policy and procedure.

    - Monitor and document non-conformance observation, also known as discrepancy, using Corrective Action Preventive Action-CAPA Report.

  - Quality / Compliance Department

    - Document control, records, and archive.

  - Maintenance

    - Monitor all calibrations and verifications from QA Personnel, labeling equipment, and equipment out of service tag.

- Corrective Actions

  - Equipment

    - If the calibration is not within specifications:

      - Equipment is re-calibrated per manufacturing specifications.

      - Equipment is validated by the 3rd party calibrator.

      - QC verifies calibration before use.

  - Product

    - Products affected by the non-conforming or out of specification due to calibration:

      - QC verifies affected products for non-conformances.

      - Segregated and tagged for disposal

      - Refer to Disposal Program and Non-conforming Product or Equipment Program.

  - Annual review of compliance with Calibration requirements by observing the following:

    - All measuring, test, and inspection equipment is identified.

    - Calibration standards are known and followed.

    - Calibration methods and frequency are documented for all available measuring, testing, and inspection equipment,

    - Calibration methods and frequency meet national or international standards where appropriate.

    - Calibration methods and frequency meet customer requirements where appropriate;

    - Calibration and/or validation methods and frequency meet manufacturer’s instructions where appropriate;

    - Methods for the calibration of equipment include responsibility for conducting calibration;

    - Authorized personnel to understand the methods for conducting calibration;

    - There are procedures in place to address the disposition of potentially affected products;

    - The potentially affected product is adequately disposed of;

    - Calibrated equipment is protected from damage;

    - Calibrated equipment is not subject to unauthorized adjustment

    - Calibration records are available and complete.

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | YYYYMMDD | Original | ENTER AUTHOR NAME | ENTER TITLE / ENTER DEPARTMENT |

Requirements:

- The trainee (employee/visitor) has read or received a verbal translation of all or part of the policy, procedure, method, and/or SOP for which they are being trained.

- The trainee has observed a demonstration of the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and minimal supervision.

| TRAINEE (Print Name): | TRAINEE (Signature): | Date: | Department: |
| --- | --- | --- | --- |
| Trainer / Supervisor (Print Name): | Trainer (Signature): | Date: | Department: |

*Should you need assistance in customizing this document please email shop@consultareinc.com