Staff Amenities Lesson

- Policy

  - Sufficient restrooms/toilets are required to accommodate the number of staff. Their location and design are such that they do not cause a contamination risk to the product, food contact surfaces, areas where the product is exposed, or food handlers.

  - Hand wash stations are correctly equipped and available at convenient locations for use.

  - Handwashing stations feature hands-free operation, a sufficient supply of clean water at the right temperature, liquid soap, sanitary drying devices, and waste containers. Signage is available in the languages that the employees use to ensure comprehension and compliance.

- Procedure

  - Toilet Facilities

    - Restrooms are properly located and are not open directly into the processing area.

    - In existing facilities where they are in close proximity to areas where the product is exposed, an airlock vented to the exterior is maintained (negative pressure).

    - Staff enter toilet rooms from processing areas through either an intervening change room or airlock, which is ventilated to external air.

    - Where exhaust fans are fitted, fans are exhausted to the outside and not into a food production area. The light and exhaust fan can be inter-wired to create negative pressure as an option, or the light and exhaust fan can be left on continuously.

    - To eliminate the risk of airflow from restrooms into the processing room, exhaust fan off-switches are on timer delay.

    - The light and exhaust fan are on a single switch located on the outside of the restroom.

    - Separate toilet rooms are provided for each gender and are typically located adjacent to and separate from the change room. The number of toilet cubicles to be provided depends on the number of staff or is based on applicable legislation. The company is aware of local legislation, but as a guide:

| Persons of the same Sex | No. of Bowls |
| --- | --- |
| 1-15 | 1 |
| 16-35 | 2 |
| 36-55 | 3 |
| 56-80 | 4 |
| > 80 for each additional 30 persons | 1 |

      - In male toilets, urinals can substitute for up to one-third of the total number of bowls.

      - Employee restrooms are properly equipped with hand wash facilities. Hands-free taps are preferred, particularly in high-risk facilities, and include those that can be operated by foot, knee or elbow or turned on/off via electronic sensing devices. Refer to Handwashing Program.

      - Signage consists solely of icons (such as those published by the International Association for Food Protection) to accomplish these requirements, with the exception of restroom signage, where other regulatory requirements are applied.

      - Sanitary drainage is kept separate from drainage from food production areas.

  - Handwashing Facilities

    - In all food contact packaging manufacturing areas(s), employees, contractors, and visitors have clean hands upon entering packaging manufacturing and handling areas:

      - after each visit to a toilet

      - after using a handkerchief

      - after smoking, eating, or drinking

      - after handling wash-down hoses

      - after handling the dropped product

      - after handling contaminated materials

    - Hand wash Basin

      - Hand wash basins are provided near pedestrian entry points at each site area, with instructions for all staff, contractors, and visitors to wash their hands immediately before entering the manufacturing area.

      - Additional hand basins are required where hands could become contaminated before working with the product.

      - Potable water at a suitable temperature, soap, single-use paper towels, and a means of disposing of used paper towels are provided at each station.

      - Hands-free operated taps and hand sanitizers are also required for high-risk operations.

      - Hands-free operated taps can include foot, knee, or elbow operated handles, auto-sensing devices, or any other method that does not require the user to touch the handle with their washed hands to turn it off.

      - Hands-free towel dispensers or other sanitary drying devices are installed for employees to dry their hands.

      - Hands-free waste containers are placed near each station to dispose of used materials.

      - Handwashing soaps and scrubs are evaluated to be free of allergens (see also 2.8.1).

      - Where alternative hand-drying methods are preferred (e.g., high-speed air dryers), they must be justified and their effectiveness validated (refer to 2.4.2.2 or 2.5.1.1).

      - Handwash basins are made of stainless steel or similar non-corrodible material. Handwash basins constructed of porcelain or similar materials are located at a distance from packaging manufacturing and handling areas.

    - Handwashing & Drying Procedure

      - Hands or gloves are washed or changed before handling any exposed food contact material. The following are some situations:

        - When entering or re-entering the production area for any reason.

        - After handling any boxes, boxed products, or pallets.

        - After handling non-food contact materials.

        - After handling pallet jacks, hand trucks, or any unsanitary equipment.

        - Hands are washed before handling gloves. Costco requires gloves to be worn when where there is direct hand contact with ready-to-eat products, regardless of the risk level. Before wearing gloves, employees thoroughly wash and dry their hands. A written glove policy is kept, which defines the type of gloves to be worn, the proper use of gloves for food handling tasks, and replacement frequency.

      - Handwashing always takes place before putting new gloves on.

      - The following handwashing procedures are followed using a hands-free handwashing station:

        - Foot, knee, or elbow-operated handles or auto-sensing devices are used to turn on the water tap (cold and hot) to the desired temperature (USDA: At least 110°F or 43°C).

        - Preload or pre-dispense single-use towel or paper towel.

        - Handwashing Procedure – Wet hands thoroughly, apply enough hand soap to cover all hand surfaces, rub hands palm to palm, rub right palm over left-back of the left hand with interlaced fingers and vice versa, rub the back of fingers to opposing palms with fingers interlocked, do a rotational rubbing of left thumb clasped in right palm and vice versa, do rotational rubbing backward and forward with clasped fingers of the right hand in left palm and vice versa.

        - Rinsing procedure – Handwashing procedures are performed while applying water to complete the rinse cycle.

        - Hand drying procedure – Obtain a preloaded or pre-dispense paper towel or single-use towel and dry your hand thoroughly.

        - Dispose of paper towels on the designated waste receptacle.

        - If the water temperature does not meet the minimum requirements of 100°F, apply sanitizer and wear gloves.

      - Whenever a hand or finger cut requires a band-aid, plastic/vinyl gloves are worn on the affected hand to prevent food contact material contamination. If the cut bleeds excessively, the employee is asked to leave work or get out of the production area until the bleeding comes under control.

      - Employees with any bandage are also required to wear gloves if they are in a processing room even if they are not directly handling food contact materials.

      - Gloves are changed or washed after handling trash, any boxes, pallets, pallet jacks, hand trucks, or any unsanitary equipment.

      - Gloves are changed if torn.

    - Hand wash Signage

      - Hand wash signage is posted near the station and is translated as needed to reflect the languages spoken by workers, as applicable.

    - Designation of Hand wash Basin

      - Designated and well-stocked hand wash basins (hands-free) are located at every regular employee entrance to the processing area,

      - Hand sinks are available inside restroom facilities and are used for that purpose only.

      - Once an employee exits a restroom, they need to re-wash their hands at a designated production area hand-sink before returning to work.

      - The location of the hand wash basin is designated where employees can go directly from the hand sink to their workstation without the risk of contamination.

      - Hand wash stations are located outside portable restroom facilities for hand washing activities to be observed/verified by supervisors.

    - Frequency

      - Employees wash their hands before applying gloves, entering product zones/areas, after breaks, eating, drinking, smoking, using the restroom, and whenever hands become contaminated during work activities.

- Responsibility

  - All Personnel

    - Shall adhere to this policy.

  - Preventative Control Qualified Individual (PCQI)

    - Visually inspect areas for compliance with this policy.

    - Oversee (Verify) compliance of procedure.

    - Ensure personnel is trained on this policy and procedures.

    - Monitor and take corrective action to ensure compliance with this policy.

  - Supervisors or department heads and team leaders are responsible to;

    - Ensure (inspect) and verify this policy and procedure is adhered to.

    - Take corrective action to ensure compliance with this policy.

  - Quality Control Personnel

    - Validate training and adherence to policy and procedure.

    - Monitor and document non-conformance observation also known as discrepancy using Corrective Action Preventive Action-CAPA Report.

  - QC / Compliance Department

    - Document control, records, and archive.

- Corrective Action

  - Train all personnel on this policy and reference SSOPs.

  - Non-compliance will require re-training or dismissal from job duties or termination of employment.

- Review – Quality

  - Toilet facilities do not open directly into processing areas, can be easily cleaned, and are clean and tidy.

  - Sufficient hand wash basins are available near the toilets.

  - Hand wash signage is available at the exit of the lunch facilities and is in the appropriate language.

  - The location and construction of hand-wash stations and their use by staff, contractors, and visitors are reviewed.

  - Hand wash basins are available for staff, contractors, and visitors.

  - Hand wash basins are located at personnel access points and areas where hands could become contaminated.

  - Hand wash basins are constructed of an appropriate material.

  - Hand wash basins have potable water supplied at appropriate temperatures.

  - There is liquid soap available at hand wash stations.

  - There are paper towels available at hand wash stations.

  - There are containers for used paper towels at hand wash stations.

  - There is signage near hand wash stations instructing people to wash their hands.

  - Personnel in packaging manufacture and handling areas have clean hands.

  - Personnel wash their hands on entering manufacturing areas.

  - Personnel wash their hands on leaving toilet areas.

  - Personnel wash their hands on leaving the lunchroom.

  - Personnel wash their hands after handling products, hoses, or waste.

  - Personnel wash their hands after eating, drinking, or smoking.

  - Personnel who use gloves also follow hand-washing requirements.

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | YYYYMMDD | Original | ENTER AUTHOR NAME | ENTER TITLE / ENTER DEPARTMENT |

Requirements:

- The trainee (employee/visitor) has read or received a verbal translation of all or part of the policy, procedure, method, and/or SOP for which they are being trained.

- The trainee has observed a demonstration of the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and minimal supervision.

| TRAINEE (Print Name): | TRAINEE (Signature): | Date: | Department: |
| --- | --- | --- | --- |
| Trainer / Supervisor (Print Name): | Trainer (Signature): | Date: | Department: |

*Should you need assistance in customizing this document please email shop@consultareinc.com

| NAME (Print): | Date: |
| --- | --- |

Staff Amenities Comprehension Quiz

Direction: Choose the best answer and encircle the letter.

- Feature hands-free operation, a sufficient supply of clean water at the right temperature, liquid soap, sanitary drying devices, and waste containers.

- Handwashing station

- Laundry Area

- Sanitary Facilities

2.    These are properly located and are not open directly into the processing area.

- Laundry Area

- Restrooms

- Breakroom

3.     It is separated from drainage from food production areas.

    - Restroom

    - Breakroom

    - Sanitary Drainage

4.    Once an employee exits a restroom, they need to re-wash their hands at a designated production area hand-   sink before returning to work.

A.    True

B.	  False

5.    Who monitors and documents non-conformance observation, also known as discrepancy, using the   Corrective Action Preventive Action-CAPA Report?

- Housekeeping

- Quality Control Personnel

- PCQI

*Should you need assistance in customizing this document please email shop@consultareinc.com

Comprehension Quiz – ANSWER KEY

1.   Feature hands-free operation, a sufficient supply of clean water at the right temperature, liquid soap,    sanitary drying devices, and waste containers.

- Handwashing station

- Laundry Area

- Sanitary Facilities

2.  These are properly located and are not open directly into the processing area.

- Laundry Area

- Restrooms

- Breakroom

3.  It is separated from drainage from food production areas.

    - Restroom

    - Breakroom

    - Sanitary Drainage

4.  Once an employee exits a restroom, they need to re-wash their hands at a designated production area hand-   sink before returning to work.

A.    True

B.    False

5.  Who monitors and documents non-conformance observation, also known as discrepancy, using the   Corrective Action Preventive Action-CAPA Report?

- Housekeeping

- Quality Control Personnel

- PCQI