Staff Amenities (Change Rooms, Toilets, Breakrooms) Lesson

- Policy

  - Provide a designated area (i.e., locker room) for employee and visitor garments and personal items.

  - In high-risk areas or facilities where clothing can be heavily soiled, provision is made for the laundering of uniforms.

  - Sufficient restrooms/toilets are required to accommodate the number of staff. Their location and design are such that they do not cause a contamination risk to the product, food contact surfaces, areas where the product is exposed, or to food handlers.

  - Employees, contractors, and visitors are prohibited from eating or drinking in food-handling areas. Designated lunchrooms are available for staff to take breaks and eat meals. These areas are physically separated from food handling areas.

- Procedure

  - Staff Amenities

    - Provide adequate lunchroom and restroom facilities, as appropriate for the number of employees in operation, based on applicable legislation relevant to the commodity being processed.

    - Provide amenities that have adequate lighting and ventilation.

    - Keep maintained to set an example of clean and orderly food sanitation and housekeeping requirements.

  - Locker Room

    - Locker room is provided with lockers for staff and visitors when they are required to change from street clothing to protective clothing to enter the facility.

    - If not fully sealed, the area around and under lockers must enable easy cleaning.

    - Locker rooms are provided commensurate with the type of operation and the number of employees.

    - Locker rooms are designed for ease of cleaning.

    - There are facilities for staff to secure personal items.

  - Laundry Area

    - The laundry area is unavailable; the employees use disposable PPE (hairnet, apron, gloves, etc.).

  - Sanitary Facilities

    - Restroom/Toilets

      - Restrooms are properly located and are not open directly into the processing area.

      - In existing facilities where they are in close proximity to areas where the product is exposed, an airlock vented to the exterior is maintained (negative pressure).

      - Staff enter toilet rooms from processing areas through an intervening change room or airlock, ventilated to external air.

      - Where exhaust fans are fitted, fans are exhausted to the outside and not into a food production area.

      - Employee restrooms are properly equipped with hand wash facilities. Hands-free taps are preferred, particularly in high-risk facilities, and include those that can be operated by foot, knee, or elbow or turned on/off via electronic sensing devices. Refer to Handwashing Program.

      - Signage consists solely of icons (such as those published by the International Association for Food Protection) to accomplish these requirements, except restroom signage, where other regulatory requirements are applied.

      - Sanitary drainage is separated from drainage from food production areas.

  - Lunchroom/Breakroom

    - The site facility is equipped with a ventilated and well-lit lunch/break room for employees. The room is equipped with a sink serviced with hot and cold potable water, a refrigerator, and a microwave. The area is kept clean.

- Responsibility

  - All Personnel

    - Shall adhere to this policy.

  - Preventative Control Qualified Individual (PCQI)

    - Visually inspect areas for compliance with this policy.

    - Oversee (Verify) compliance of procedure.

    - Ensure personnel is trained on this policy and procedures.

    - Monitor and take corrective action to ensure compliance with this policy.

  - Supervisors or department heads and team leaders are responsible.

    - Ensure (inspect) and verify that this policy and procedure are adhered to.

    - Take corrective action to ensure compliance with this policy.

  - Quality Control Personnel

    - Validate training and adherence to policy and procedure.

    - Monitor and document non-conformance observation, also known as discrepancy, using the Corrective Action Preventive Action-CAPA Report.

  - Quality / Compliance Department

    - Document control, records, and archive.

- Corrective Action

  - Train all personnel on this policy and reference SSOPs.

  - Non-compliance will require re-training, dismissal from job duties, or termination of employment.

- Review – Quality

  - Amenities are provided commensurate with the type of operation and the number of employees.

  - Amenities are available for all employees who handle products.

  - Staff amenities have adequate lighting.

  - Staff amenities have adequate ventilation.

  - Locker Rooms are provided commensurate with the type of operation and the number of employees.

  - Locker Rooms is designed for ease of cleaning.

  - There are good showers for staff working in high-risk areas or areas where clothing can become heavily soiled.

  - There are facilities for staff to secure personal items.

  - Provision is made for laundering protective clothing worn by staff.

  - Provision is made for the laundering of uniforms of staff working in high-risk areas.

  - There are sufficient toilets available for the number of employees.

  - Toilets are easily cleaned.

  - The toilets are clean and tidy.

  - Sufficient hand wash basins are available near the toilets.

  - Sanitary drainage is separated from processing site drains.

  - Separate lunch facilities are provided.

  - Lunchroom facilities are adequate for the number of staff.

  - Lunch facilities are separated from processing, product storage, or handling areas.

  - Lunchroom facilities are properly ventilated.

  - Lunchroom facilities are well-lit.

  - Lunchroom facilities include a sink with hot and cold running water.

  - Lunchroom facilities are clean and tidy.

  - Proper heating or cooling facilities are provided in lunch facilities.

  - Hand wash signage is available at the exit of the lunch facilities.

  - Hand wash signage at the exit of lunch facilities is in the appropriate language.

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | 20230111 | Original | Arnel Ryan | PCQI / Compliance |

Requirements:

- The trainee (employee/visitor) has read or received a verbal translation of all or part of the policy, procedure, method, and/or SOP for which they are being trained.

- The trainee has observed a demonstration of the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and minimal supervision.