Ventilation Lesson

- Policy

  - Adequate and proper ventilation is provided to prevent condensate build-up in cooking areas or other areas where heat or steam is applied, resulting in contamination due to condensate dripping onto the product or food-contact surfaces.

  - Fans and exhaust vents are insect-proofed and placed in locations that do not pose a contamination risk.

  - Positive air pressure is maintained in high-risk processing areas to prevent airborne contaminants from being drawn into the area.

  - Poor ventilation can result in condensate build-up in cooking areas or other areas where heat or steam are applied and can result in contamination due to condensate dripping onto the product or food-contact surfaces.

  - In high-risk processing areas, positive air pressure is maintained to prevent airborne contaminants from being drawn into the area.

- Procedure

  - Ventilation

    - Provide adequate ventilation to cooker/washer steam and other equipment which produces heat.

    - Design and construct the ventilation in enclosed food processing areas based on applicable legislation.

    - Design and construct ventilation in enclosed food processing areas such that condensation over food and surfaces of food contact equipment is prevented.

    - Place screens on vents and exhausts to prevent the ingress of flying insects.

  - Positive Air Pressure

    - Identify high-risk processing area

    - Provide and maintain positive air pressure in segregated rooms or areas where high-risk food processes are performed and which require a higher level of hygienic practice to prevent contamination by pathogenic organisms. Potential airborne contaminants can include particulates, bacteria, mold spores, viruses, water vapor, oil aerosols, and allergens.

    - Consider factors such as room dimensions, potential contaminants, product risk, temperature, humidity, filtration, pressurization, sanitation methods, maintenance access, and employee comfort when designing the systems and equipment supplying clean, filtered air in high-risk areas.

    - Design airflow to keep food and food contact surfaces clean and free from contaminants and ensure air flows from high-risk to low-risk areas.

      - Conduct a risk assessment to determine the requirement for airflow, filter grades, and the minimum air changes per hour required to maintain air quality. The risk assessment will determine the amount of filtration required to minimize the contamination risk. Although specific requirements may vary at each site, high-risk food processing areas generally require a combination of prefilters and final filters with MERV ratings of 16.

      - The Preventive Maintenance programs cover appropriate filtration and proper maintenance of the air supply source or equipment and clean or changing filters at a frequency appropriate to the product and process. Any maintenance is done hygienically.

- Responsibility

  - Food Safety Team Lead, PCQI or SQF Practitioner

    - Visually inspect areas for compliance with this policy.

    - Oversee (Verify) compliance of procedure.

    - Ensure personnel is trained on this policy and procedures.

    - Monitor and take corrective action to ensure compliance with this policy.

    - Validate training and adherence to policy and procedure.

    - Monitor and document non-conformance observation, also known as discrepancy, using Corrective Action Preventive Action-CAPA Report.

  - Supervisors or department heads and team leaders are responsible to;

    - Ensure (inspect) and verify this policy and procedure is adhered to and;

    - Take corrective action to ensure compliance with this policy.

  - Maintenance

    - Ensure compliance with Ventilation standard requirements when designing and constructing ventilation equipment and installing appropriate positive air pressure.

    - Performs preventive maintenance of Ventilation/Positive Air Pressure system.

- Corrective Action

  - Train all personnel on this policy and reference SSOPs.

  - Non-compliance will require re-training or dismissal from job duties or termination of employment.

  - When condensates build up in cooking areas or other areas where heat or steam is applied, check for the adequacy of ventilation in the area. Install appropriate equipment to ensure proper ventilation.

  - If contaminated air is sucked into a high-risk area, check for the effectiveness of the positive air system.

- Review – Quality

  - Annual review of compliance with Ventilation requirements by observing the following:

    - Food processing areas have adequate ventilation;

    - Cooking areas are adequately exhausted;

    - There is no condensation present over product or food contact surfaces in cooker areas;

    - Exhaust vents are adequately fly-proofed;

    - Positive air pressure exists in high-risk processing areas.

    - Exhaust fans and compressors are cleaned

    - Condition of compressor filters

- History

| Revision No.: | Revision Date: | Description of Change: | Originator / Author Name: | Title / Department: |
| --- | --- | --- | --- | --- |
| 0 | 20221122 | Original | Arnel Ryan | PCQI / Compliance |

Requirements:

- The trainee (employee/visitor) has read or received a verbal translation of all or part of the policy, procedure, method, and/or SOP for which they are being trained.

- The trainee has observed a demonstration of the task they are to perform or the procedure for which they are being trained as required.

- The trainee has demonstrated the ability to perform the task with acceptable proficiency and minimal supervision.